## Plate 1 - Sheet1
Software Version | 2.00.18
Plate Number | Plate 1
Date | 2021-08-07
Time | 13:28
Reader Type: | Synergy H1
Reader Serial Number: | 268413
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Read | Absorbance Endpoint
Full Plate
Wavelengths: 540, 570, 700
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 8
Read | Fluorescence Spectrum
Random
Fixed Excitation: 420 nm
Emission Start: 450 nm, Stop: 700 nm, Step: 10 nm
Optics: Bottom, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Read | Fluorescence Spectrum
E1..F12
Fixed Excitation: 520 nm
Emission Start: 550 nm, Stop: 700 nm, Step: 10 nm
Optics: Bottom, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 21.5
Actual Temperature: | 21.5
Actual Temperature: | 21.5
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0.236 | 0.323 | 0.389 | 0.28 | 0.267 | 0.272 | 0.323 | 0.307 | 0.273 | 0.245 | 0.296 | 0.273 | Read 1:540
|  | 0.223 | 0.299 | 0.362 | 0.266 | 0.247 | 0.252 | 0.294 | 0.269 | 0.253 | 0.227 | 0.274 | 0.254 | Read 1:570
|  | 0.052 | 0.052 | 0.051 | 0.049 | 0.048 | 0.047 | 0.05 | 0.048 | 0.046 | 0.048 | 0.048 | 0.05 | Read 1:700
| B | 0.29 | 0.299 | 0.344 | 0.303 | 0.295 | 0.286 | 0.309 | 0.31 | 0.311 | 0.331 | 0.317 | 0.319 | Read 1:540
|  | 0.27 | 0.28 | 0.319 | 0.285 | 0.277 | 0.261 | 0.286 | 0.285 | 0.29 | 0.304 | 0.293 | 0.3 | Read 1:570
|  | 0.049 | 0.052 | 0.051 | 0.053 | 0.05 | 0.048 | 0.052 | 0.047 | 0.061 | 0.05 | 0.05 | 0.049 | Read 1:700
| C | 0.234 | 0.281 | 0.29 | 0.288 | 0.287 | 0.289 | 0.3 | 0.288 | 0.287 | 0.302 | 0.313 | 0.294 | Read 1:540
|  | 0.22 | 0.264 | 0.272 | 0.269 | 0.266 | 0.27 | 0.28 | 0.265 | 0.267 | 0.278 | 0.287 | 0.274 | Read 1:570
|  | 0.051 | 0.055 | 0.052 | 0.051 | 0.049 | 0.046 | 0.048 | 0.056 | 0.052 | 0.047 | 0.048 | 0.047 | Read 1:700
| D | 0.298 | 0.293 | 0.298 | 0.297 | 0.296 | 0.312 | 0.314 | 0.272 | 0.309 | 0.337 | 0.348 | 0.303 | Read 1:540
|  | 0.276 | 0.275 | 0.281 | 0.273 | 0.271 | 0.289 | 0.284 | 0.25 | 0.284 | 0.313 | 0.336 | 0.281 | Read 1:570
|  | 0.058 | 0.051 | 0.053 | 0.052 | 0.05 | 0.049 | 0.054 | 0.044 | 0.055 | 0.05 | 0.052 | 0.047 | Read 1:700
| E | 0.277 | 0.32 | 0.303 | 0.374 | 0.318 | 0.327 | 0.29 | 0.257 | 0.287 | 0.33 | 0.329 | 0.236 | Read 1:540
|  | 0.257 | 0.302 | 0.283 | 0.345 | 0.283 | 0.297 | 0.264 | 0.253 | 0.267 | 0.306 | 0.308 | 0.22 | Read 1:570
|  | 0.051 | 0.06 | 0.05 | 0.078 | 0.046 | 0.05 | 0.049 | 0.05 | 0.066 | 0.05 | 0.059 | 0.052 | Read 1:700
| F | 0.215 | 0.273 | 0.232 | 0.252 | 0.297 | 0.302 | 0.309 | 0.24 | 0.239 | 0.331 | 0.406 | 0.391 | Read 1:540
|  | 0.198 | 0.256 | 0.214 | 0.237 | 0.271 | 0.284 | 0.277 | 0.222 | 0.222 | 0.3 | 0.365 | 0.36 | Read 1:570
|  | 0.051 | 0.05 | 0.05 | 0.051 | 0.049 | 0.096 | 0.051 | 0.047 | 0.063 | 0.047 | 0.056 | 0.045 | Read 1:700
| G | 0.286 | 0.307 | 0.317 | 0.327 | 0.298 | 0.322 | 0.29 | 0.304 | 0.322 | 0.32 | 0.312 | 0.307 | Read 1:540
|  | 0.269 | 0.281 | 0.292 | 0.304 | 0.279 | 0.305 | 0.269 | 0.278 | 0.293 | 0.296 | 0.286 | 0.284 | Read 1:570
|  | 0.051 | 0.047 | 0.057 | 0.058 | 0.051 | 0.053 | 0.048 | 0.045 | 0.044 | 0.048 | 0.047 | 0.045 | Read 1:700
| H | 0.255 | 0.288 | 0.296 | 0.276 | 0.261 | 0.318 | 0.297 | 0.288 | 0.292 | 0.049 | 0.048 | 0.048 | Read 1:540
|  | 0.235 | 0.266 | 0.272 | 0.254 | 0.241 | 0.296 | 0.276 | 0.265 | 0.272 | 0.048 | 0.047 | 0.047 | Read 1:570
|  | 0.05 | 0.046 | 0.045 | 0.052 | 0.046 | 0.048 | 0.048 | 0.042 | 0.052 | 0.042 | 0.043 | 0.043 | Read 1:700
Read 2:EM Spectrum
| Wavelength | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 450 | 1361 | 1429 | 1676 | 1351 | 1349 | 1409 | 1336 | 1395 | 1399 | 1355 | 770 | 1106 | 1263 | 1255 | 1361 | 1382 | 1373 | 1404 | 1183 | 1466 | 1440 | 1446 | 1453 | 1336 | 1253 | 1342 | 1282 | 1374 | 1292 | 1329 | 1402 | 1372 | 1277 | 1445 | 1433 | 1379 | 1310 | 1285 | 1395 | 1368 | 1288 | 1154 | 293 | 236 | 211 | 1326 | 1382 | 1329 | [24 empty] | 1406 | 1402 | 1474 | 1392 | 1395 | 1403 | 1320 | 1406 | 1432 | 1389 | 1371 | 1333 | 1280 | 1360 | 1297 | 1254 | 1425 | 1371 | 1351 | 1467 | 1086 | 1532 | 1524 | 1466
| 460 | 1363 | 1421 | 1670 | 1349 | 1408 | 1401 | 1386 | 1443 | 1414 | 1413 | 788 | 1160 | 1334 | 1332 | 1335 | 1387 | 1396 | 1404 | 1194 | 1458 | 1438 | 1469 | 1466 | 1383 | 1315 | 1359 | 1356 | 1393 | 1370 | 1366 | 1410 | 1368 | 1357 | 1422 | 1413 | 1418 | 1367 | 1319 | 1374 | 1299 | 1331 | 1114 | 294 | 245 | 216 | 1380 | 1405 | 1403 | [24 empty] | 1394 | 1438 | 1482 | 1399 | 1425 | 1429 | 1358 | 1372 | 1377 | 1458 | 1410 | 1363 | 1298 | 1366 | 1344 | 1314 | 1432 | 1332 | 1356 | 1442 | 1111 | 1599 | 1593 | 1497
| 470 | 1315 | 1349 | 1552 | 1301 | 1330 | 1363 | 1322 | 1359 | 1376 | 1344 | 758 | 1101 | 1194 | 1256 | 1319 | 1334 | 1351 | 1406 | 1096 | 1356 | 1355 | 1399 | 1342 | 1308 | 1288 | 1311 | 1225 | 1353 | 1281 | 1277 | 1325 | 1331 | 1277 | 1388 | 1371 | 1338 | 1257 | 1269 | 1334 | 1264 | 1282 | 1106 | 281 | 231 | 195 | 1343 | 1347 | 1293 | [24 empty] | 1303 | 1399 | 1411 | 1345 | 1318 | 1395 | 1271 | 1348 | 1347 | 1341 | 1334 | 1293 | 1189 | 1274 | 1227 | 1213 | 1359 | 1328 | 1306 | 1431 | 1097 | 1564 | 1490 | 1484
| 480 | 1252 | 1351 | 1507 | 1284 | 1250 | 1310 | 1323 | 1323 | 1313 | 1307 | 715 | 1080 | 1210 | 1219 | 1297 | 1265 | 1283 | 1364 | 1078 | 1370 | 1345 | 1336 | 1309 | 1258 | 1151 | 1260 | 1189 | 1304 | 1199 | 1275 | 1239 | 1276 | 1224 | 1298 | 1295 | 1243 | 1233 | 1207 | 1301 | 1265 | 1223 | 1070 | 278 | 221 | 200 | 1265 | 1327 | 1289 | [24 empty] | 1330 | 1352 | 1371 | 1309 | 1233 | 1325 | 1229 | 1298 | 1318 | 1355 | 1274 | 1264 | 1156 | 1223 | 1233 | 1185 | 1351 | 1279 | 1276 | 1424 | 1047 | 1486 | 1471 | 1368
| 490 | 1136 | 1156 | 1340 | 1181 | 1159 | 1218 | 1155 | 1184 | 1203 | 1173 | 680 | 971 | 1077 | 1087 | 1153 | 1186 | 1132 | 1206 | 983 | 1223 | 1193 | 1218 | 1206 | 1173 | 1098 | 1152 | 1106 | 1160 | 1098 | 1178 | 1156 | 1173 | 1126 | 1165 | 1187 | 1195 | 1099 | 1103 | 1170 | 1128 | 1067 | 982 | 254 | 202 | 181 | 1153 | 1211 | 1236 | [24 empty] | 1171 | 1221 | 1241 | 1128 | 1148 | 1190 | 1165 | 1126 | 1185 | 1194 | 1174 | 1122 | 1024 | 1100 | 1079 | 1056 | 1185 | 1185 | 1162 | 1228 | 932 | 1374 | 1310 | 1222
| 500 | 1007 | 1070 | 1178 | 1027 | 1010 | 1069 | 1075 | 1072 | 1108 | 1035 | 599 | 838 | 954 | 946 | 1034 | 1054 | 1002 | 1090 | 917 | 1079 | 1056 | 1077 | 1041 | 1014 | 962 | 1047 | 935 | 1053 | 992 | 1017 | 1086 | 1026 | 993 | 1051 | 1061 | 1043 | 958 | 956 | 1051 | 1016 | 997 | 851 | 229 | 174 | 161 | 1023 | 1050 | 1070 | [24 empty] | 1026 | 1056 | 1087 | 1067 | 1012 | 1062 | 997 | 1026 | 1059 | 1088 | 1039 | 1005 | 908 | 978 | 953 | 953 | 1086 | 1013 | 998 | 1088 | 822 | 1207 | 1133 | 1078
| 510 | 910 | 925 | 1097 | 923 | 931 | 941 | 944 | 973 | 1007 | 955 | 530 | 774 | 842 | 868 | 941 | 986 | 964 | 1000 | 775 | 1000 | 971 | 964 | 972 | 903 | 862 | 941 | 884 | 956 | 909 | 944 | 917 | 953 | 901 | 944 | 950 | 927 | 889 | 887 | 900 | 895 | 885 | 794 | 207 | 160 | 142 | 931 | 967 | 1009 | [24 empty] | 933 | 969 | 968 | 919 | 928 | 981 | 902 | 905 | 925 | 948 | 918 | 938 | 835 | 881 | 862 | 843 | 959 | 912 | 938 | 992 | 763 | 1062 | 1033 | 1019
| 520 | 776 | 867 | 928 | 816 | 783 | 835 | 810 | 827 | 810 | 808 | 467 | 647 | 764 | 740 | 792 | 812 | 826 | 822 | 700 | 856 | 834 | 822 | 837 | 825 | 751 | 798 | 782 | 803 | 783 | 781 | 799 | 756 | 780 | 799 | 800 | 804 | 736 | 727 | 784 | 784 | 767 | 667 | 178 | 137 | 124 | 818 | 818 | 820 | [24 empty] | 832 | 812 | 872 | 841 | 810 | 807 | 761 | 783 | 833 | 855 | 794 | 781 | 705 | 777 | 753 | 748 | 825 | 816 | 786 | 830 | 646 | 938 | 871 | 815
| 530 | 713 | 764 | 807 | 738 | 724 | 753 | 738 | 746 | 721 | 729 | 396 | 587 | 669 | 670 | 705 | 739 | 741 | 739 | 594 | 760 | 742 | 745 | 754 | 711 | 661 | 708 | 695 | 726 | 697 | 731 | 730 | 726 | 696 | 701 | 721 | 724 | 650 | 658 | 699 | 680 | 701 | 594 | 162 | 125 | 112 | 685 | 759 | 748 | [24 empty] | 696 | 738 | 766 | 714 | 699 | 720 | 709 | 716 | 706 | 756 | 681 | 687 | 614 | 674 | 648 | 657 | 739 | 669 | 690 | 749 | 580 | 815 | 792 | 688
| 540 | 590 | 602 | 720 | 612 | 646 | 643 | 624 | 642 | 599 | 592 | 334 | 506 | 558 | 586 | 614 | 622 | 659 | 603 | 520 | 627 | 648 | 620 | 632 | 613 | 559 | 629 | 553 | 598 | 595 | 584 | 603 | 586 | 556 | 603 | 606 | 590 | 561 | 548 | 598 | 583 | 573 | 525 | 138 | 109 | 93 | 623 | 677 | 618 | [24 empty] | 617 | 627 | 639 | 601 | 605 | 621 | 600 | 589 | 617 | 624 | 599 | 596 | 568 | 566 | 577 | 571 | 633 | 578 | 576 | 627 | 490 | 686 | 669 | 633
| 550 | 504 | 539 | 612 | 517 | 542 | 553 | 522 | 545 | 534 | 539 | 310 | 430 | 439 | 475 | 508 | 518 | 545 | 581 | 458 | 527 | 563 | 518 | 548 | 528 | 472 | 518 | 487 | 550 | 504 | 529 | 526 | 526 | 495 | 536 | 521 | 509 | 460 | 475 | 517 | 540 | 487 | 447 | 120 | 93 | 79 | 517 | 568 | 560 | [24 empty] | 540 | 545 | 540 | 544 | 505 | 515 | 533 | 522 | 518 | 554 | 503 | 486 | 448 | 462 | 484 | 457 | 566 | 494 | 504 | 577 | 414 | 603 | 554 | 555
| 560 | 417 | 450 | 507 | 437 | 455 | 452 | 439 | 454 | 467 | 440 | 244 | 343 | 406 | 422 | 444 | 444 | 466 | 467 | 368 | 445 | 450 | 462 | 472 | 448 | 461 | 491 | 410 | 453 | 439 | 477 | 441 | 469 | 436 | 463 | 462 | 465 | 432 | 385 | 485 | 440 | 431 | 389 | 104 | 73 | 71 | 438 | 495 | 465 | [24 empty] | 448 | 444 | 474 | 432 | 451 | 476 | 435 | 419 | 411 | 467 | 433 | 436 | 373 | 402 | 421 | 420 | 430 | 464 | 445 | 488 | 343 | 538 | 467 | 412
| 570 | 369 | 388 | 430 | 401 | 373 | 385 | 383 | 364 | 390 | 370 | 210 | 307 | 358 | 350 | 380 | 368 | 353 | 396 | 306 | 373 | 401 | 394 | 375 | 343 | 365 | 420 | 342 | 382 | 354 | 382 | 413 | 367 | 358 | 374 | 373 | 360 | 328 | 371 | 378 | 357 | 382 | 299 | 81 | 66 | 59 | 393 | 406 | 394 | [24 empty] | 393 | 420 | 380 | 397 | 345 | 402 | 370 | 371 | 355 | 388 | 377 | 362 | 333 | 353 | 342 | 340 | 387 | 366 | 359 | 390 | 303 | 418 | 395 | 368
| 580 | 322 | 359 | 346 | 327 | 333 | 309 | 292 | 322 | 332 | 330 | 186 | 279 | 292 | 331 | 347 | 320 | 341 | 317 | 303 | 320 | 327 | 345 | 342 | 334 | 302 | 348 | 296 | 370 | 294 | 329 | 334 | 320 | 331 | 314 | 366 | 323 | 300 | 275 | 320 | 319 | 305 | 249 | 68 | 56 | 55 | 331 | 332 | 346 | [24 empty] | 328 | 334 | 363 | 316 | 318 | 331 | 299 | 317 | 360 | 319 | 282 | 322 | 277 | 293 | 306 | 286 | 325 | 325 | 313 | 375 | 234 | 344 | 307 | 288
| 590 | 288 | 277 | 326 | 284 | 288 | 297 | 284 | 228 | 283 | 283 | 166 | 219 | 258 | 239 | 248 | 294 | 287 | 307 | 217 | 257 | 301 | 270 | 268 | 262 | 260 | 274 | 243 | 267 | 237 | 302 | 261 | 246 | 238 | 305 | 258 | 251 | 253 | 291 | 256 | 292 | 229 | 207 | 64 | 49 | 41 | 262 | 306 | 250 | [24 empty] | 275 | 277 | 330 | 274 | 249 | 267 | 264 | 277 | 277 | 255 | 271 | 256 | 272 | 280 | 262 | 258 | 248 | 284 | 287 | 272 | 257 | 300 | 218 | 243
| 600 | 204 | 267 | 252 | 245 | 240 | 264 | 232 | 253 | 264 | 245 | 108 | 219 | 225 | 246 | 232 | 286 | 213 | 237 | 197 | 221 | 227 | 255 | 248 | 226 | 209 | 264 | 219 | 259 | 226 | 256 | 198 | 188 | 245 | 243 | 264 | 191 | 249 | 233 | 243 | 239 | 244 | 237 | 48 | 43 | 32 | 216 | 250 | 244 | [24 empty] | 244 | 228 | 249 | 269 | 212 | 227 | 254 | 253 | 236 | 269 | 172 | 219 | 192 | 230 | 229 | 219 | 211 | 233 | 201 | 248 | 174 | 264 | 191 | 210
| 610 | 207 | 223 | 196 | 200 | 225 | 195 | 167 | 203 | 223 | 170 | 123 | 164 | 191 | 185 | 215 | 224 | 200 | 223 | 151 | 198 | 270 | 196 | 203 | 211 | 178 | 221 | 173 | 191 | 203 | 197 | 216 | 226 | 126 | 174 | 142 | 160 | 182 | 242 | 137 | 215 | 236 | 193 | 54 | 46 | 37 | 235 | 217 | 214 | [24 empty] | 211 | 204 | 169 | 236 | 207 | 206 | 216 | 211 | 220 | 194 | 166 | 215 | 195 | 162 | 197 | 197 | 189 | 207 | 235 | 207 | 193 | 209 | 174 | 208
| 620 | 157 | 203 | 219 | 157 | 161 | 175 | 117 | 179 | 193 | 215 | 112 | 139 | 142 | 166 | 214 | 158 | 205 | 187 | 150 | 142 | 196 | 196 | 112 | 158 | 167 | 188 | 157 | 236 | 144 | 225 | 142 | 154 | 130 | 163 | 160 | 209 | 173 | 158 | 155 | 138 | 132 | 159 | 48 | 45 | 32 | 185 | 146 | 192 | [24 empty] | 164 | 201 | 158 | 234 | 177 | 191 | 136 | 166 | 201 | 166 | 173 | 121 | 119 | 178 | 166 | 123 | 113 | 176 | 154 | 149 | 112 | 178 | 177 | 135
| 630 | 135 | 133 | 223 | 118 | 144 | 81 | 189 | 172 | 220 | 152 | 155 | 208 | 177 | 147 | 167 | 186 | 206 | 143 | 161 | 202 | 187 | 186 | 169 | 190 | 132 | 164 | 152 | 130 | 87 | 209 | 148 | 112 | 150 | 207 | 132 | 167 | 198 | 151 | 195 | 235 | 144 | 229 | 91 | 78 | 83 | 126 | 156 | 126 | [24 empty] | 188 | 170 | 146 | 109 | 206 | 180 | 120 | 174 | 181 | 180 | 217 | 126 | 108 | 168 | 170 | 129 | 180 | 139 | 208 | 144 | 132 | 153 | 142 | 162
| 640 | 127 | 187 | 173 | 79 | 159 | 116 | 104 | 117 | 206 | 541 | 556 | 582 | 278 | 292 | 312 | 358 | 408 | 355 | 515 | 592 | 577 | 169 | 133 | 75 | 117 | 126 | 158 | 116 | 153 | 180 | 182 | 64 | 155 | 161 | 164 | 224 | 327 | 257 | 500 | 602 | 529 | 628 | 498 | 453 | 536 | 131 | 179 | 74 | [24 empty] | 211 | 135 | 135 | 98 | 185 | 147 | 148 | 117 | 46 | 108 | 237 | 170 | 199 | 139 | 194 | 70 | 126 | 167 | 252 | 169 | 483 | 47 | 125 | 142
| 650 | 150 | 216 | 144 | 165 | 156 | 179 | 237 | 286 | 328 | 1141 | 1473 | 1224 | 672 | 652 | 530 | 799 | 779 | 733 | 1171 | 1278 | 1220 | 213 | 100 | 200 | 67 | 137 | 163 | 73 | 151 | 199 | 203 | 106 | 187 | 398 | 371 | 436 | 840 | 599 | 851 | 1354 | 1223 | 1386 | 1327 | 1297 | 1413 | 150 | 130 | 216 | [24 empty] | 143 | 138 | 193 | 119 | 198 | 99 | 128 | 194 | 101 | 176 | 273 | 119 | 244 | 209 | 245 | 113 | 149 | 170 | 468 | 318 | 1383 | 160 | 148 | 118
| 660 | 138 | 291 | 259 | 224 | 188 | 272 | 163 | 79 | 239 | 1259 | 1440 | 1384 | 616 | 732 | 625 | 772 | 931 | 837 | 1402 | 1428 | 1250 | 66 | 115 | 133 | 76 | 37 | 120 | 159 | 105 | 253 | 116 | 87 | 151 | 197 | 499 | 452 | 788 | 695 | 1029 | 1327 | 1245 | 1313 | 1373 | 1388 | 1576 | 90 | 161 | 120 | [24 empty] | 202 | 150 | 104 | 123 | 66 | 24 | 210 | 102 | 79 | 159 | 93 | 225 | 131 | 272 | 380 | 164 | 32 | 190 | 445 | 364 | 1367 | 25 | 99 | 0
| 670 | 187 | 281 | 206 | 270 | 45 | 137 | 197 | 115 | 252 | 877 | 1007 | 920 | 477 | 478 | 448 | 568 | 489 | 733 | 870 | 1000 | 780 | 183 | 65 | 205 | 68 | 54 | 58 | 104 | 247 | 0 | 112 | 5 | 101 | 296 | 29 | 342 | 557 | 457 | 339 | 945 | 783 | 687 | 865 | 900 | 956 | 182 | 151 | 255 | [24 empty] | 10 | 214 | 200 | 176 | 171 | 163 | 174 | 0 | 0 | 166 | 89 | 216 | 96 | 271 | 322 | 0 | 146 | 61 | 326 | 287 | 1014 | 177 | 66 | 168
| 680 | 2 | 231 | 0 | 152 | 231 | 89 | 28 | 67 | 222 | 601 | 587 | 547 | 227 | 502 | 253 | 237 | 135 | 351 | 474 | 652 | 372 | 232 | 32 | 0 | 42 | 126 | 272 | 47 | 0 | 0 | 190 | 28 | 190 | 0 | 391 | 111 | 324 | 233 | 239 | 501 | 393 | 525 | 446 | 457 | 478 | 184 | 86 | 3 | [24 empty] | 29 | 0 | 66 | 100 | 0 | 76 | 87 | 83 | 7 | 34 | 88 | 51 | 27 | 239 | 331 | 5 | 234 | 213 | 320 | 0 | 668 | 138 | 45 | 0
| 690 | 131 | 359 | 0 | 22 | 0 | 0 | 0 | 425 | 0 | 121 | 550 | 125 | 483 | 0 | 309 | 61 | 600 | 70 | 558 | 356 | 790 | 274 | 0 | 32 | 0 | 0 | 240 | 0 | 129 | 25 | 0 | 23 | 75 | 231 | 0 | 281 | 297 | 0 | 401 | 569 | 251 | 211 | 341 | 349 | 420 | 0 | 0 | 0 | [24 empty] | 18 | 0 | 0 | 0 | 221 | 390 | 0 | 450 | 68 | 0 | 0 | 22 | 177 | 68 | 511 | 491 | 214 | 0 | 147 | 0 | 167 | 194 | 258 | 25
| 700 | 44 | 170 | 331 | 479 | 189 | 597 | 0 | 0 | 71 | 207 | 621 | 503 | 0 | 476 | 102 | 53 | 176 | 192 | 170 | 59 | 215 | 312 | 67 | 0 | 203 | 0 | 398 | 0 | 551 | 201 | 195 | 163 | 0 | 0 | 575 | 889 | 583 | 0 | 0 | 607 | 656 | 165 | 495 | 508 | 387 | 0 | 279 | 556 | [24 empty] | 0 | 0 | 176 | 6 | 0 | 609 | 215 | 590 | 177 | 0 | 547 | 76 | 118 | 0 | 0 | 0 | 76 | 0 | 565 | 531 | 593 | 24 | 594 | 48
Read 3:EM Spectrum
| Wavelength | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 550 | E1: 35; E2: 84; E3: 35; E4: 69; E5: 54; E6: 30; E7: 74; E8: 79; E9: 45; E10: 13; E11: 17; E12: 27; F1: 88; F2: 66; F3: 136; F4: 121; F5: 44; F6: 99; F7: 362; F8: 216; F9: 181; F10: 35; F11: 43; F12: 39
| 560 | E1: 40; E2: 92; E3: 35; E4: 69; E5: 52; E6: 32; E7: 97; E8: 82; E9: 44; E10: 14; E11: 16; E12: 23; F1: 77; F2: 63; F3: 133; F4: 92; F5: 38; F6: 115; F7: 343; F8: 197; F9: 164; F10: 46; F11: 43; F12: 34
| 570 | E1: 43; E2: 96; E3: 40; E4: 77; E5: 64; E6: 30; E7: 122; E8: 69; E9: 40; E10: 15; E11: 17; E12: 24; F1: 83; F2: 69; F3: 109; F4: 124; F5: 43; F6: 129; F7: 379; F8: 196; F9: 157; F10: 57; F11: 49; F12: 37
| 580 | E1: 43; E2: 89; E3: 34; E4: 74; E5: 61; E6: 32; E7: 105; E8: 76; E9: 46; E10: 17; E11: 19; E12: 30; F1: 81; F2: 66; F3: 116; F4: 124; F5: 53; F6: 153; F7: 403; F8: 215; F9: 163; F10: 44; F11: 44; F12: 37
| 590 | E1: 36; E2: 88; E3: 44; E4: 56; E5: 69; E6: 39; E7: 100; E8: 86; E9: 49; E10: 16; E11: 20; E12: 20; F1: 74; F2: 65; F3: 103; F4: 93; F5: 49; F6: 125; F7: 385; F8: 202; F9: 192; F10: 43; F11: 43; F12: 33
| 600 | E1: 39; E2: 91; E3: 43; E4: 85; E5: 83; E6: 36; E7: 62; E8: 84; E9: 61; E10: 18; E11: 21; E12: 25; F1: 86; F2: 85; F3: 105; F4: 111; F5: 42; F6: 110; F7: 351; F8: 199; F9: 140; F10: 45; F11: 42; F12: 40
| 610 | E1: 51; E2: 109; E3: 46; E4: 91; E5: 60; E6: 41; E7: 94; E8: 92; E9: 63; E10: 12; E11: 20; E12: 31; F1: 90; F2: 76; F3: 100; F4: 114; F5: 53; F6: 105; F7: 319; F8: 165; F9: 150; F10: 35; F11: 52; F12: 51
| 620 | E1: 54; E2: 129; E3: 32; E4: 61; E5: 69; E6: 33; E7: 93; E8: 82; E9: 67; E10: 12; E11: 22; E12: 22; F1: 80; F2: 100; F3: 106; F4: 94; F5: 45; F6: 85; F7: 276; F8: 166; F9: 145; F10: 46; F11: 40; F12: 36
| 630 | E1: 42; E2: 97; E3: 12; E4: 53; E5: 86; E6: 45; E7: 45; E8: 74; E9: 57; E10: 12; E11: 15; E12: 25; F1: 111; F2: 24; F3: 82; F4: 83; F5: 45; F6: 106; F7: 254; F8: 125; F9: 113; F10: 50; F11: 28; F12: 44
| 640 | E1: 0; E2: 63; E3: 33; E4: 82; E5: 42; E6: 31; E7: 60; E8: 101; E9: 13; E10: 13; E11: 12; E12: 23; F1: 64; F2: 63; F3: 52; F4: 97; F5: 24; F6: 76; F7: 245; F8: 125; F9: 128; F10: 45; F11: 15; F12: 40
| 650 | E1: 17; E2: 57; E3: 25; E4: 97; E5: 21; E6: 18; E7: 63; E8: 77; E9: 51; E10: 9; E11: 21; E12: 23; F1: 81; F2: 63; F3: 22; F4: 133; F5: 48; F6: 40; F7: 264; F8: 113; F9: 113; F10: 73; F11: 37; F12: 30
| 660 | E1: 32; E2: 93; E3: 14; E4: 25; E5: 28; E6: 14; E7: 98; E8: 0; E9: 41; E10: 16; E11: 16; E12: 26; F1: 47; F2: 83; F3: 0; F4: 41; F5: 6; F6: 33; F7: 221; F8: 70; F9: 53; F10: 74; F11: 34; F12: 52
| 670 | E1: 0; E2: 0; E3: 16; E4: 51; E5: 19; E6: 0; E7: 70; E8: 93; E9: 0; E10: 25; E11: 8; E12: 17; F1: 0; F2: 29; F3: 99; F4: 80; F5: 7; F6: 52; F7: 105; F8: 61; F9: 41; F10: 43; F11: 65; F12: 87
| 680 | E1: 26; E2: 90; E3: 61; E4: 50; E5: 0; E6: 0; E7: 98; E8: 60; E9: 87; E10: 31; E11: 0; E12: 36; F1: 21; F2: 78; F3: 0; F4: 0; F5: 86; F6: 0; F7: 182; F8: 113; F9: 14; F10: 0; F11: 42; F12: 77
| 690 | E1: 94; E2: 0; E3: 89; E4: 0; E5: 0; E6: 89; E7: 0; E8: 0; E9: 0; E10: 23; E11: 16; E12: 0; F1: 0; F2: 0; F3: 40; F4: 0; F5: 129; F6: 0; F7: 207; F8: 18; F9: 0; F10: 88; F11: 0; F12: 0
| 700 | E1: 0; E2: 13; E3: 81; E4: 0; E5: 0; E6: 0; E7: 0; E8: 0; E9: 76; E10: 103; E11: 101; E12: 109; F1: 0; F2: 0; F3: 0; F4: 0; F5: 0; F6: 0; F7: 212; F8: 61; F9: 206; F10: 59; F11: 101; F12: 22
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 2 | 133 | 0 | 22 | 0 | 0 | 0 | 0 | 0 | 121 | 108 | 125 | Mean Min RFU [Read 2:EM Spectrum]
|  | 680 | 630 | 680 | 690 | 690 | 690 | 690 | 700 | 690 | 690 | 600 | 690 | W at Mean Min RFU [Read 2:EM Spectrum]
|  | 1363 | 1429 | 1676 | 1351 | 1408 | 1409 | 1386 | 1443 | 1414 | 1413 | 1473 | 1384 | Mean Max RFU [Read 2:EM Spectrum]
|  | 460 | 450 | 450 | 450 | 460 | 450 | 460 | 460 | 460 | 460 | 650 | 660 | W at Mean Max RFU [Read 2:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [Read 3:EM Spectrum]
| B | 0 | 0 | 102 | 53 | 135 | 70 | 150 | 59 | 187 | 66 | 0 | 0 | Mean Min RFU [Read 2:EM Spectrum]
|  | 700 | 690 | 700 | 700 | 680 | 690 | 620 | 700 | 630 | 660 | 690 | 680 | W at Mean Min RFU [Read 2:EM Spectrum]
|  | 1334 | 1332 | 1361 | 1387 | 1396 | 1406 | 1402 | 1466 | 1440 | 1469 | 1466 | 1383 | Mean Max RFU [Read 2:EM Spectrum]
|  | 460 | 460 | 450 | 460 | 460 | 470 | 660 | 450 | 450 | 460 | 460 | 460 | W at Mean Max RFU [Read 2:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [Read 3:EM Spectrum]
| C | 0 | 0 | 58 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 111 | Mean Min RFU [Read 2:EM Spectrum]
|  | 690 | 690 | 670 | 690 | 680 | 670 | 690 | 670 | 700 | 680 | 690 | 680 | W at Mean Min RFU [Read 2:EM Spectrum]
|  | 1315 | 1359 | 1356 | 1393 | 1370 | 1366 | 1410 | 1372 | 1357 | 1445 | 1433 | 1418 | Mean Max RFU [Read 2:EM Spectrum]
|  | 460 | 460 | 460 | 460 | 460 | 460 | 460 | 450 | 460 | 450 | 450 | 460 | W at Mean Max RFU [Read 2:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [Read 3:EM Spectrum]
| D | 173 | 0 | 0 | 138 | 132 | 159 | 48 | 43 | 32 | 0 | 0 | 0 | Mean Min RFU [Read 2:EM Spectrum]
|  | 620 | 690 | 700 | 620 | 620 | 620 | 600 | 600 | 600 | 690 | 690 | 690 | W at Mean Min RFU [Read 2:EM Spectrum]
|  | 1367 | 1319 | 1395 | 1368 | 1331 | 1386 | 1373 | 1388 | 1576 | 1380 | 1405 | 1403 | Mean Max RFU [Read 2:EM Spectrum]
|  | 460 | 460 | 450 | 450 | 460 | 650 | 660 | 660 | 660 | 460 | 460 | 460 | W at Mean Max RFU [Read 2:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [Read 3:EM Spectrum]
| E | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [Read 2:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [Read 2:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [Read 2:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [Read 2:EM Spectrum]
|  | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | Mean Min RFU [Read 3:EM Spectrum]
|  | 640 | 670 | 630 | 690 | 680 | 670 | 690 | 660 | 670 | 650 | 680 | 690 | W at Mean Min RFU [Read 3:EM Spectrum]
|  | 94 | 129 | 89 | 97 | 86 | 89 | 122 | 101 | 87 | 103 | 101 | 109 | Mean Max RFU [Read 3:EM Spectrum]
|  | 690 | 620 | 690 | 650 | 630 | 690 | 570 | 640 | 680 | 700 | 700 | 700 | W at Mean Max RFU [Read 3:EM Spectrum]
| F | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [Read 2:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [Read 2:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [Read 2:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [Read 2:EM Spectrum]
|  | 0 | 0 | 0 | 0 | 0 | 0 | 105 | 18 | 0 | 0 | 0 | 0 | Mean Min RFU [Read 3:EM Spectrum]
|  | 670 | 690 | 660 | 680 | 700 | 680 | 670 | 690 | 690 | 680 | 690 | 690 | W at Mean Min RFU [Read 3:EM Spectrum]
|  | 111 | 100 | 136 | 133 | 129 | 153 | 403 | 216 | 206 | 88 | 101 | 87 | Mean Max RFU [Read 3:EM Spectrum]
|  | 630 | 620 | 550 | 650 | 690 | 580 | 580 | 550 | 700 | 690 | 700 | 670 | W at Mean Max RFU [Read 3:EM Spectrum]
| G | 0 | 0 | 0 | 0 | 0 | 24 | 0 | 0 | 0 | 0 | 0 | 22 | Mean Min RFU [Read 2:EM Spectrum]
|  | 700 | 680 | 690 | 690 | 680 | 660 | 690 | 670 | 670 | 690 | 690 | 690 | W at Mean Min RFU [Read 2:EM Spectrum]
|  | 1406 | 1438 | 1482 | 1399 | 1425 | 1429 | 1358 | 1406 | 1432 | 1458 | 1410 | 1363 | Mean Max RFU [Read 2:EM Spectrum]
|  | 450 | 460 | 460 | 460 | 460 | 460 | 460 | 450 | 450 | 460 | 460 | 460 | W at Mean Max RFU [Read 2:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [Read 3:EM Spectrum]
| H | 27 | 0 | 0 | 0 | 32 | 0 | 147 | 0 | 112 | 24 | 45 | 0 | Mean Min RFU [Read 2:EM Spectrum]
|  | 680 | 700 | 700 | 670 | 660 | 690 | 690 | 680 | 620 | 700 | 680 | 660 | W at Mean Min RFU [Read 2:EM Spectrum]
|  | 1298 | 1366 | 1344 | 1314 | 1432 | 1371 | 1356 | 1467 | 1383 | 1599 | 1593 | 1497 | Mean Max RFU [Read 2:EM Spectrum]
|  | 460 | 460 | 460 | 460 | 460 | 450 | 460 | 450 | 650 | 460 | 460 | 460 | W at Mean Max RFU [Read 2:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [Read 3:EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [Read 3:EM Spectrum]