## Plate 1 - Sheet1
Software Version | 2.00.18
Plate Number | Plate 1
Date | 2019-11-05
Time | 11:45
Reader Type: | Synergy H1
Reader Serial Number: | 268413
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 490, Emission: 540
Optics: Bottom, Gain: 100
Filter Set 2
Excitation: 490, Emission: 540
Optics: Bottom, Gain: 150
Filter Set 3
Excitation: 490, Emission: 540
Optics: Bottom, Gain: AutoScale
Filter Set 4
Excitation: 360, Emission: 420
Optics: Bottom, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 24.2
Actual Temperature: | 24.2
Actual Temperature: | 24.2
Actual Temperature: | 24.2
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 4338 | 3624 | 3324 | 3217 | 3766 | 3172 | 3736 | 3741 | 3862 | 3731 | 3810 | 3790 | 490.54
|  | OVRFLW | 87624 | 80315 | 78707 | 91977 | 76033 | 89796 | 91456 | 92097 | 88788 | 92690 | 92136 | 490,540[2]
|  | 30427 | 26227 | 23658 | 24080 | 26793 | 23145 | 26960 | 26974 | 26988 | 26501 | 27752 | 27239 | 490,540[3]
|  | 17066 | 15487 | 15070 | 14214 | 14474 | 13610 | 14363 | 14370 | 14774 | 15394 | 14914 | 15199 | 360.42
| B | 3939 | 3609 | 3577 | 3693 | 3615 | 4011 | 3708 | 3572 | 3496 | 3552 | 3239 | 3838 | 490.54
|  | 93507 | 87145 | 86404 | 89233 | 86291 | 96641 | 90126 | 85670 | 83241 | 85004 | 77597 | 93532 | 490,540[2]
|  | 29054 | 26795 | 25954 | 26613 | 25996 | 28681 | 26802 | 25988 | 24913 | 25236 | 23130 | 27929 | 490,540[3]
|  | 16250 | 14477 | 13759 | 13899 | 13681 | 13981 | 13591 | 13612 | 13697 | 13718 | 13503 | 14672 | 360.42
| C | 6594 | 4942 | 4243 | 3866 | 3572 | 3571 | 3572 | 3378 | 3603 | 3523 | 3461 | 3969 | 490.54
|  | OVRFLW | OVRFLW | OVRFLW | 91700 | 86046 | 85514 | 87230 | 81628 | 86280 | 85043 | 80780 | 94583 | 490,540[2]
|  | 48328 | 35000 | 30696 | 27638 | 25647 | 25670 | 26068 | 24203 | 25838 | 25143 | 24882 | 27489 | 490,540[3]
|  | 27089 | 19594 | 16577 | 15172 | 13328 | 14106 | 13757 | 12898 | 13946 | 13520 | 13472 | 14524 | 360.42
| D | 6560 | 5064 | 4280 | 3869 | 3901 | 3653 | 3048 | 3693 | 3466 | 3326 | 3540 | 3755 | 490.54
|  | OVRFLW | OVRFLW | OVRFLW | 93183 | 93133 | 87401 | 73162 | 89011 | 85329 | 80112 | 83935 | 89248 | 490,540[2]
|  | 49105 | 35790 | 30804 | 27964 | 27842 | 25822 | 21713 | 26370 | 24639 | 23944 | 24741 | 26464 | 490,540[3]
|  | 26933 | 20159 | 16548 | 14760 | 14772 | 13613 | 12933 | 13960 | 18591 | 13688 | 13538 | 14217 | 360.42
| E | 6900 | 4862 | 4311 | 3711 | 3632 | 3542 | 3260 | 3462 | 3535 | 3478 | 3563 | 3815 | 490.54
|  | OVRFLW | OVRFLW | OVRFLW | 90148 | 85435 | 82569 | 79840 | 82217 | 85100 | 81903 | 85343 | 89191 | 490,540[2]
|  | 48590 | 34723 | 30014 | 26875 | 25806 | 25255 | 23767 | 24562 | 24742 | 25003 | 24618 | 26690 | 490,540[3]
|  | 29270 | 20856 | 17287 | 14949 | 14035 | 13774 | 13803 | 13422 | 13764 | 13695 | 14175 | 14647 | 360.42
| F | 6876 | 4977 | 4129 | 3747 | 3527 | 3432 | 3381 | 3490 | 3546 | 3397 | 3500 | 3704 | 490.54
|  | OVRFLW | OVRFLW | OVRFLW | 89205 | 81886 | 82367 | 80108 | 85367 | 85648 | 80833 | 84800 | 88250 | 490,540[2]
|  | 49447 | 35146 | 29503 | 26130 | 24937 | 25253 | 23793 | 25329 | 25531 | 24587 | 25071 | 26472 | 490,540[3]
|  | 29558 | 20191 | 17062 | 14703 | 13743 | 13499 | 13929 | 13017 | 13627 | 13664 | 17176 | 14645 | 360.42
| G | 6852 | 5052 | 4227 | 3949 | 3310 | 3791 | 3572 | 3355 | 3581 | 3548 | 3603 | 3751 | 490.54
|  | OVRFLW | OVRFLW | OVRFLW | 95038 | 78966 | 89558 | 88912 | 82704 | 85415 | 84573 | 86792 | 90728 | 490,540[2]
|  | 49697 | 36121 | 31242 | 27878 | 23681 | 27136 | 26646 | 24422 | 25486 | 25441 | 25330 | 26813 | 490,540[3]
|  | 30439 | 20645 | 16867 | 15225 | 13892 | 14124 | 31137 | 13424 | 13943 | 14307 | 13705 | 14567 | 360.42
| H | 3781 | 3861 | 3863 | 4008 | 4109 | 4114 | 4153 | 4175 | 3902 | 3786 | 3820 | 3512 | 490.54
|  | 92236 | 91090 | 93056 | 98826 | 97300 | 97136 | 97781 | 99371 | 93349 | 91177 | 92646 | 84542 | 490,540[2]
|  | 27581 | 27464 | 27658 | 29341 | 29646 | 29059 | 30079 | 29730 | 27852 | 27191 | 27219 | 26463 | 490,540[3]
|  | 14561 | 14380 | 14378 | 14356 | 14356 | 14603 | 14764 | 14397 | 14348 | 14718 | 14739 | 16326 | 360.42