## Plate 1 - Sheet1
Software Version | 2.00.18
Plate Number | Plate 1
Date | 2019-10-18
Time | 15:19
Reader Type: | Synergy H1
Reader Serial Number: | 268413
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 540, Emission: 590
Optics: Bottom, Gain: 100
Filter Set 2
Excitation: 540, Emission: 590
Optics: Bottom, Gain: 150
Filter Set 3
Excitation: 540, Emission: 590
Optics: Bottom, Gain: AutoScale
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 22.2
Actual Temperature: | 22.2
Actual Temperature: | 22.2
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 217 | 319 | 192 | 196 | 170 | 305 | 181 | 214 | 197 | 187 | 179 | 208 | 540.59
|  | 4949 | 8148 | 4395 | 5280 | 4435 | 7305 | 4793 | 4766 | 5654 | 4477 | 4508 | 4772 | 540,590[2]
|  | 11711 | 17169 | 10891 | 11833 | 10229 | 16065 | 11310 | 11386 | 12411 | 10759 | 10914 | 10620 | 540,590[3]
| B | 193 | 224 | 185 | 175 | 189 | 206 | 534 | 217 | 229 | 184 | 224 | 180 | 540.59
|  | 4752 | 5504 | 4589 | 4594 | 4363 | 4842 | 13204 | 4797 | 5686 | 4819 | 5270 | 4330 | 540,590[2]
|  | 11070 | 13448 | 10068 | 10179 | 9540 | 11991 | 31673 | 12104 | 12214 | 11684 | 11743 | 10451 | 540,590[3]
| C | 246 | 244 | 250 | 199 | 642 | 195 | 256 | 201 | 193 | 193 | 238 | 239 | 540.59
|  | 6048 | 5818 | 5739 | 5078 | 15656 | 4336 | 6040 | 4822 | 4787 | 5191 | 5729 | 5524 | 540,590[2]
|  | 14698 | 14425 | 13778 | 11205 | 35583 | 10620 | 14592 | 11612 | 11641 | 11413 | 13690 | 12688 | 540,590[3]
| D | 309 | 342 | 297 | 177 | 314 | 211 | 181 | 197 | 195 | 202 | 208 | 176 | 540.59
|  | 6735 | 7484 | 6856 | 4014 | 7429 | 4977 | 4327 | 4692 | 4598 | 5472 | 5431 | 3882 | 540,590[2]
|  | 15910 | 18791 | 16385 | 9329 | 17661 | 11919 | 9715 | 10587 | 10378 | 11670 | 12518 | 8792 | 540,590[3]
| E | 235 | 311 | 235 | 177 | 158 | 228 | 166 | 214 | 202 | 220 | 230 | 210 | 540.59
|  | 5685 | 7615 | 5427 | 4932 | 4139 | 5501 | 3767 | 5422 | 5225 | 5720 | 5999 | 4779 | 540,590[2]
|  | 14279 | 18348 | 13057 | 11016 | 8967 | 12222 | 8925 | 12068 | 12174 | 13147 | 13390 | 12233 | 540,590[3]
| F | 410 | 936 | 194 | 188 | 188 | 169 | 171 | 169 | 167 | 162 | 222 | 233 | 540.59
|  | 10483 | 23190 | 4360 | 4937 | 4260 | 4082 | 4288 | 4024 | 4101 | 4444 | 5321 | 5100 | 540,590[2]
|  | 23272 | 52554 | 9545 | 10894 | 10024 | 9815 | 9369 | 9988 | 9578 | 9777 | 12730 | 11670 | 540,590[3]
| G | 135 | 121 | 140 | 187 | 349 | 177 | 171 | 190 | 204 | 181 | 190 | 221 | 540.59
|  | 3154 | 2673 | 3323 | 4558 | 8861 | 4422 | 4160 | 4159 | 4609 | 4168 | 5006 | 5667 | 540,590[2]
|  | 7071 | 5878 | 6660 | 10458 | 19809 | 10167 | 9967 | 10348 | 9930 | 10377 | 12007 | 12686 | 540,590[3]
| H | 267 | 263 | 196 | 272 | 204 | 182 | 177 | 181 | 177 | 164 | 213 | 222 | 540.59
|  | 6077 | 6389 | 5058 | 6738 | 5072 | 4527 | 4516 | 4386 | 4300 | 4419 | 4836 | 5119 | 540,590[2]
|  | 15314 | 15459 | 11505 | 14981 | 11883 | 10504 | 10181 | 10956 | 10482 | 10586 | 11084 | 12629 | 540,590[3]