## Plate 1 - Sheet1
Software Version | 2.00.18
Plate Number | Plate 1
Date | 2019-10-23
Time | 10:49
Reader Type: | Synergy H1
Reader Serial Number: | 268413
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 544, Emission: 590
Optics: Bottom, Gain: 100
Filter Set 2
Excitation: 544, Emission: 590
Optics: Bottom, Gain: 150
Filter Set 3
Excitation: 544, Emission: 590
Optics: Bottom, Gain: AutoScale
Filter Set 4
Excitation: 390, Emission: 460
Optics: Bottom, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 21.7
Actual Temperature: | 21.7
Actual Temperature: | 21.7
Actual Temperature: | 21.7
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 361 | 510 | 332 | 288 | 265 | 212 | 362 | 241 | 236 | 326 | 211 | 271 | 544.59
|  | 8499 | 12275 | 7658 | 6859 | 6042 | 5220 | 8496 | 5433 | 5846 | 8285 | 5723 | 6248 | 544,590[2]
|  | 24007 | 33287 | 20330 | 17516 | 17127 | 13728 | 23787 | 15237 | 15568 | 20750 | 15265 | 17056 | 544,590[3]
|  | 9127 | 8127 | 7440 | 6993 | 7067 | 6559 | 6864 | 7076 | 6988 | 6921 | 7165 | 7351 | 390.46
| B | 302 | 328 | 317 | 388 | 454 | 352 | 359 | 280 | 227 | 245 | 209 | 272 | 544.59
|  | 6827 | 7637 | 7651 | 9516 | 10850 | 8843 | 7674 | 6925 | 5351 | 5611 | 5065 | 6546 | 544,590[2]
|  | 19406 | 18946 | 20100 | 24649 | 29835 | 23461 | 23344 | 17051 | 14070 | 15652 | 14304 | 17111 | 544,590[3]
|  | 8959 | 8162 | 7203 | 7128 | 6807 | 7340 | 6812 | 7314 | 6698 | 6856 | 7437 | 7026 | 390.46
| C | 656 | 448 | 302 | 420 | 326 | 292 | 247 | 243 | 258 | 288 | 254 | 284 | 544.59
|  | 15811 | 10942 | 8037 | 10732 | 7589 | 7055 | 6158 | 5896 | 6190 | 7227 | 6407 | 7536 | 544,590[2]
|  | 40191 | 29875 | 20294 | 29679 | 21224 | 18737 | 16289 | 15428 | 15567 | 19808 | 16441 | 19408 | 544,590[3]
|  | 21329 | 14034 | 10310 | 8757 | 6930 | 7412 | 6934 | 6602 | 6781 | 6862 | 6803 | 7061 | 390.46
| D | 600 | 498 | 359 | 323 | 810 | 269 | 348 | 306 | 250 | 244 | 271 | 261 | 544.59
|  | 15085 | 11676 | 9070 | 7168 | 19161 | 6275 | 8094 | 7568 | 5864 | 5940 | 6941 | 6382 | 544,590[2]
|  | 38517 | 31191 | 24596 | 19861 | 53178 | 18205 | 20193 | 21292 | 15810 | 17311 | 16923 | 15716 | 544,590[3]
|  | 20860 | 14045 | 10374 | 8383 | 8569 | 7091 | 6498 | 7304 | 6731 | 6687 | 6761 | 6917 | 390.46
| E | 798 | 550 | 363 | 260 | 314 | 268 | 429 | 252 | 211 | 253 | 241 | 239 | 544.59
|  | 19169 | 13868 | 9261 | 7075 | 7028 | 6046 | 11099 | 5678 | 5330 | 6659 | 6227 | 5612 | 544,590[2]
|  | 50642 | 37440 | 24133 | 18467 | 18925 | 16831 | 28358 | 15250 | 14179 | 18493 | 16452 | 15747 | 544,590[3]
|  | 23209 | 15062 | 10608 | 8290 | 7593 | 7283 | 6896 | 6800 | 6927 | 6904 | 7053 | 7129 | 390.46
| F | 627 | 501 | 282 | 322 | 274 | 237 | 478 | 224 | 197 | 406 | 234 | 349 | 544.59
|  | 15068 | 12380 | 7857 | 8206 | 6956 | 6050 | 11650 | 5504 | 5338 | 9680 | 5721 | 8330 | 544,590[2]
|  | 40710 | 32644 | 20137 | 22414 | 17524 | 15593 | 30197 | 14752 | 14178 | 26180 | 14857 | 21791 | 544,590[3]
|  | 22613 | 14239 | 10669 | 8717 | 7444 | 7133 | 6822 | 6761 | 6854 | 7037 | 6916 | 7154 | 390.46
| G | 659 | 392 | 278 | 256 | 257 | 326 | 222 | 222 | 268 | 459 | 260 | 271 | 544.59
|  | 15163 | 9847 | 7119 | 6212 | 6324 | 7626 | 6557 | 5842 | 6701 | 11707 | 6627 | 6503 | 544,590[2]
|  | 42129 | 26465 | 20561 | 17427 | 17013 | 20861 | 17093 | 15249 | 17168 | 29571 | 16759 | 18173 | 544,590[3]
|  | 21576 | 14994 | 10511 | 8387 | 7483 | 7802 | 7076 | 6802 | 7010 | 6878 | 6772 | 9116 | 390.46
| H | 269 | 290 | 240 | 317 | 374 | 379 | 428 | 314 | 320 | 969 | 333 | 252 | 544.59
|  | 6510 | 7799 | 5835 | 7357 | 9032 | 9058 | 10499 | 7910 | 7428 | 23114 | 7679 | 5929 | 544,590[2]
|  | 17889 | 18929 | 15072 | 18647 | 24245 | 24896 | 28518 | 20609 | 20312 | 63681 | 21801 | 15259 | 544,590[3]
|  | 7132 | 6956 | 7062 | 7984 | 7942 | 8216 | 10940 | 8715 | 10620 | 7104 | 7206 | 7228 | 390.46