## Plate 1 - Sheet1
Software Version | 2.00.18
Plate Number | Plate 1
Date | 2019-10-01
Time | 17:38
Reader Type: | Synergy H1
Reader Serial Number: | 268413
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 500, Emission: 620
Optics: Bottom, Gain: 100
Filter Set 2
Excitation: 500, Emission: 700
Optics: Bottom, Gain: 100
Filter Set 3
Excitation: 500, Emission: 620
Optics: Bottom, Gain: 150
Filter Set 4
Excitation: 500, Emission: 700
Optics: Bottom, Gain: 150
Filter Set 5
Excitation: 500, Emission: 620
Optics: Bottom, Gain: 125
Filter Set 6
Excitation: 500, Emission: 700
Optics: Bottom, Gain: 125
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 23.6
Actual Temperature: | 23.6
Actual Temperature: | 23.6
Actual Temperature: | 23.6
Actual Temperature: | 23.6
Actual Temperature: | 23.6
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 5132 | 5694 | 4858 | 3322 | 6756 | 4412 | 4912 | 4813 | 5009 | 4981 | 4012 | 45 | 500.62
|  | 318 | 321 | 307 | 176 | 483 | 281 | 314 | 300 | 304 | 333 | 278 | 1 | 500.7
|  | OVRFLW | OVRFLW | OVRFLW | 83160 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 813 | 500,620[2]
|  | 7744 | 8124 | 7805 | 4084 | 11180 | 6872 | 7752 | 7104 | 7555 | 7991 | 7159 | 14 | 500,700[2]
|  | 30616 | 33424 | 28047 | 19370 | 39916 | 25816 | 28624 | 28497 | 29262 | 28593 | 23160 | 206 | 500,620[3]
|  | 1856 | 1937 | 1604 | 1061 | 2573 | 1635 | 1768 | 1774 | 1716 | 1756 | 1588 | 13 | 500,700[3]
| B | 4928 | 5255 | 5346 | 4830 | 4849 | 5004 | 5219 | 5460 | 4972 | 4933 | 3936 | 36 | 500.62
|  | 283 | 334 | 339 | 280 | 323 | 314 | 317 | 326 | 320 | 306 | 284 | 6 | 500.7
|  | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 94868 | 669 | 500,620[2]
|  | 7801 | 8165 | 8091 | 7348 | 7803 | 7516 | 8044 | 8163 | 7690 | 7437 | 6841 | 20 | 500,700[2]
|  | 30756 | 31498 | 31403 | 28158 | 28892 | 28468 | 29920 | 29480 | 28954 | 28819 | 22480 | 129 | 500,620[3]
|  | 1922 | 1966 | 1811 | 1757 | 1758 | 1743 | 1869 | 1800 | 1811 | 1751 | 1592 | 16 | 500,700[3]
| C | 5222 | 5290 | 5754 | 5253 | 4946 | 5156 | 5637 | 5095 | 5161 | 4847 | 3819 | 37 | 500.62
|  | 328 | 333 | 359 | 334 | 305 | 320 | 351 | 285 | 308 | 279 | 282 | 3 | 500.7
|  | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 95826 | 785 | 500,620[2]
|  | 8344 | 7595 | 8954 | 7643 | 7077 | 7212 | 9007 | 7059 | 7448 | 6650 | 7090 | 15 | 500,700[2]
|  | 30998 | 30780 | 32567 | 28175 | 28110 | 28041 | 31918 | 27931 | 28408 | 26690 | 22536 | 164 | 500,620[3]
|  | 1925 | 1802 | 2078 | 1668 | 1714 | 1728 | 2054 | 1755 | 1816 | 1770 | 1559 | 0 | 500,700[3]
| D | 30 | 32 | 32 | 23 | 44 | 42 | 36 | 33 | 38 | 36 | 61 | 54 | 500.62
|  | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 10 | 0 | 18 | 23 | 500.7
|  | 716 | 553 | 857 | 680 | 742 | 801 | 743 | 626 | 749 | 874 | 1295 | 937 | 500,620[2]
|  | 31 | 12 | 8 | 9 | 13 | 0 | 35 | 4 | 9 | 0 | 39 | 10 | 500,700[2]
|  | 166 | 154 | 166 | 166 | 189 | 172 | 180 | 173 | 195 | 193 | 342 | 167 | 500,620[3]
|  | 9 | 4 | 0 | 21 | 7 | 7 | 0 | 9 | 5 | 0 | 9 | 9 | 500,700[3]
| E | 32 | 32 | 14 | 39 | 36 | 29 | 13 | 30 | 30 | 34 | 29 | 29 | 500.62
|  | 13 | 2 | 10 | 0 | 0 | 4 | 3 | 4 | 0 | 3 | 0 | 15 | 500.7
|  | 723 | 860 | 651 | 866 | 870 | 712 | 736 | 844 | 666 | 868 | 882 | 938 | 500,620[2]
|  | 6 | 3 | 4 | 0 | 4 | 23 | 0 | 0 | 5 | 0 | 24 | 14 | 500,700[2]
|  | 204 | 188 | 150 | 198 | 178 | 171 | 143 | 188 | 170 | 172 | 195 | 178 | 500,620[3]
|  | 5 | 5 | 5 | 5 | 7 | 1 | 0 | 23 | 8 | 1 | 26 | 7 | 500,700[3]
| F | 28 | 40 | 42 | 36 | 47 | 25 | 35 | 37 | 26 | 25 | 39 | 33 | 500.62
|  | 0 | 5 | 2 | 1 | 8 | 8 | 3 | 0 | 0 | 0 | 4 | 0 | 500.7
|  | 778 | 681 | 795 | 751 | 626 | 784 | 697 | 833 | 808 | 727 | 723 | 936 | 500,620[2]
|  | 12 | 14 | 17 | 15 | 11 | 25 | 7 | 27 | 0 | 13 | 23 | 11 | 500,700[2]
|  | 173 | 197 | 191 | 199 | 142 | 215 | 173 | 211 | 190 | 139 | 187 | 187 | 500,620[3]
|  | 6 | 1 | 12 | 5 | 0 | 5 | 12 | 5 | 3 | 3 | 2 | 0 | 500,700[3]
| G | 23 | 33 | 25 | 30 | 42 | 38 | 43 | 32 | 30 | 21 | 20 | 27 | 500.62
|  | 0 | 0 | 1 | 2 | 5 | 0 | 14 | 0 | 5 | 0 | 0 | 5 | 500.7
|  | 719 | 787 | 729 | 717 | 804 | 767 | 938 | 800 | 763 | 682 | 728 | 975 | 500,620[2]
|  | 29 | 16 | 11 | 20 | 7 | 0 | 35 | 10 | 13 | 14 | 7 | 3 | 500,700[2]
|  | 174 | 157 | 151 | 195 | 198 | 224 | 183 | 184 | 194 | 140 | 192 | 172 | 500,620[3]
|  | 0 | 4 | 16 | 11 | 0 | 5 | 6 | 14 | 9 | 0 | 0 | 0 | 500,700[3]
| H | 35 | 38 | 13 | 42 | 24 | 27 | 30 | 36 | 28 | 46 | 26 | 26 | 500.62
|  | 13 | 0 | 0 | 3 | 5 | 2 | 12 | 0 | 8 | 0 | 7 | 6 | 500.7
|  | 814 | 706 | 752 | 852 | 777 | 999 | 1027 | 831 | 880 | 879 | 843 | 791 | 500,620[2]
|  | 24 | 10 | 2 | 0 | 5 | 6 | 10 | 26 | 14 | 0 | 16 | 29 | 500,700[2]
|  | 171 | 197 | 157 | 216 | 225 | 204 | 207 | 200 | 161 | 191 | 206 | 167 | 500,620[3]
|  | 18 | 11 | 3 | 0 | 0 | 4 | 0 | 4 | 11 | 19 | 0 | 19 | 500,700[3]

## Plate 1 - Sheet1 (1)
Software Version | 2.00.18
Plate Number | Plate 1
Date | 2019-10-01
Time | 17:47
Reader Type: | Synergy H1
Reader Serial Number: | 268413
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 535, Emission: 617
Optics: Bottom, Gain: 100
Filter Set 2
Excitation: 535, Emission: 700
Optics: Bottom, Gain: 100
Filter Set 3
Excitation: 535, Emission: 617
Optics: Bottom, Gain: 150
Filter Set 4
Excitation: 535, Emission: 700
Optics: Bottom, Gain: 150
Filter Set 5
Excitation: 535, Emission: 617
Optics: Bottom, Gain: 125
Filter Set 6
Excitation: 535, Emission: 700
Optics: Bottom, Gain: 125
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 23.8
Actual Temperature: | 23.8
Actual Temperature: | 23.8
Actual Temperature: | 23.8
Actual Temperature: | 23.8
Actual Temperature: | 23.8
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 5486 | 6301 | 4731 | 4095 | 6192 | 4293 | 4642 | 4821 | 4714 | 4654 | 2651 | 29 | 535.617
|  | 263 | 294 | 253 | 166 | 336 | 230 | 237 | 238 | 264 | 236 | 187 | 4 | 535.7
|  | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 64261 | 944 | 535,617[2]
|  | 7535 | 7368 | 6242 | 4189 | 8748 | 5366 | 6399 | 6203 | 6081 | 6395 | 4666 | 18 | 535,700[2]
|  | 33572 | 36806 | 27375 | 22904 | 34885 | 25255 | 26002 | 26914 | 26504 | 26401 | 15274 | 233 | 535,617[3]
|  | 1710 | 1631 | 1351 | 954 | 1994 | 1318 | 1415 | 1456 | 1412 | 1291 | 1017 | 4 | 535,700[3]
| B | 5418 | 5581 | 5469 | 5065 | 4820 | 4887 | 4943 | 5158 | 4851 | 4641 | 2655 | 35 | 535.617
|  | 258 | 276 | 266 | 249 | 265 | 242 | 270 | 287 | 249 | 275 | 182 | 0 | 535.7
|  | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 63325 | 742 | 535,617[2]
|  | 6860 | 7492 | 6564 | 6376 | 6275 | 6126 | 6757 | 6773 | 6426 | 5852 | 4476 | 5 | 535,700[2]
|  | 31475 | 32806 | 31073 | 28069 | 27714 | 27787 | 28528 | 29087 | 26664 | 26998 | 14662 | 161 | 535,617[3]
|  | 1588 | 1666 | 1475 | 1505 | 1357 | 1396 | 1518 | 1501 | 1382 | 1487 | 1081 | 0 | 535,700[3]
| C | 5288 | 5635 | 5374 | 5111 | 4688 | 4821 | 5273 | 4776 | 4855 | 4493 | 2629 | 23 | 535.617
|  | 282 | 294 | 287 | 272 | 228 | 240 | 285 | 240 | 262 | 232 | 192 | 0 | 535.7
|  | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 64502 | 667 | 535,617[2]
|  | 7052 | 7360 | 7194 | 6108 | 6016 | 6143 | 6676 | 5786 | 6129 | 5973 | 4577 | 19 | 535,700[2]
|  | 32327 | 33482 | 30878 | 28423 | 26230 | 27023 | 30088 | 27775 | 27406 | 25987 | 14919 | 202 | 535,617[3]
|  | 1780 | 1755 | 1748 | 1428 | 1346 | 1457 | 1653 | 1365 | 1343 | 1335 | 1075 | 20 | 535,700[3]
| D | 26 | 29 | 31 | 42 | 37 | 34 | 28 | 28 | 42 | 13 | 53 | 42 | 535.617
|  | 0 | 3 | 0 | 0 | 0 | 0 | 6 | 0 | 13 | 0 | 2 | 0 | 535.7
|  | 694 | 622 | 841 | 1043 | 893 | 872 | 780 | 761 | 951 | 680 | 1483 | 1063 | 535,617[2]
|  | 18 | 7 | 0 | 8 | 12 | 25 | 2 | 31 | 15 | 7 | 46 | 17 | 535,700[2]
|  | 166 | 122 | 188 | 237 | 228 | 175 | 198 | 146 | 248 | 174 | 343 | 202 | 535,617[3]
|  | 3 | 10 | 13 | 7 | 1 | 14 | 11 | 0 | 0 | 12 | 22 | 10 | 535,700[3]
| E | 32 | 29 | 35 | 31 | 42 | 30 | 29 | 55 | 22 | 20 | 34 | 41 | 535.617
|  | 0 | 5 | 14 | 0 | 0 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 535.7
|  | 863 | 1011 | 814 | 872 | 814 | 743 | 670 | 1022 | 747 | 820 | 864 | 901 | 535,617[2]
|  | 13 | 31 | 4 | 10 | 2 | 21 | 24 | 13 | 25 | 7 | 41 | 12 | 535,700[2]
|  | 226 | 249 | 180 | 196 | 198 | 178 | 191 | 271 | 143 | 178 | 181 | 210 | 535,617[3]
|  | 9 | 9 | 6 | 6 | 13 | 5 | 4 | 6 | 1 | 6 | 10 | 9 | 535,700[3]
| F | 30 | 52 | 36 | 29 | 41 | 31 | 25 | 41 | 26 | 59 | 28 | 30 | 535.617
|  | 0 | 0 | 11 | 0 | 13 | 0 | 0 | 0 | 1 | 3 | 11 | 19 | 535.7
|  | 887 | 903 | 956 | 942 | 649 | 778 | 779 | 844 | 814 | 819 | 745 | 677 | 535,617[2]
|  | 15 | 4 | 6 | 20 | 29 | 16 | 13 | 39 | 19 | 42 | 24 | 0 | 535,700[2]
|  | 152 | 189 | 215 | 159 | 202 | 189 | 185 | 211 | 186 | 180 | 172 | 186 | 535,617[3]
|  | 0 | 7 | 9 | 3 | 3 | 0 | 2 | 9 | 0 | 3 | 14 | 0 | 535,700[3]
| G | 29 | 40 | 35 | 39 | 38 | 44 | 30 | 41 | 25 | 41 | 31 | 43 | 535.617
|  | 7 | 0 | 3 | 10 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 535.7
|  | 618 | 685 | 658 | 923 | 876 | 806 | 924 | 826 | 833 | 786 | 732 | 732 | 535,617[2]
|  | 13 | 26 | 18 | 0 | 32 | 13 | 28 | 27 | 9 | 12 | 37 | 24 | 535,700[2]
|  | 203 | 158 | 196 | 229 | 201 | 189 | 203 | 195 | 189 | 186 | 198 | 185 | 535,617[3]
|  | 0 | 2 | 9 | 17 | 3 | 9 | 9 | 4 | 2 | 0 | 12 | 0 | 535,700[3]
| H | 36 | 34 | 21 | 42 | 42 | 41 | 45 | 29 | 44 | 32 | 36 | 25 | 535.617
|  | 6 | 6 | 0 | 2 | 6 | 6 | 0 | 2 | 10 | 8 | 0 | 3 | 535.7
|  | 873 | 823 | 600 | 1007 | 704 | 656 | 870 | 672 | 842 | 744 | 808 | 719 | 535,617[2]
|  | 16 | 18 | 16 | 0 | 40 | 0 | 4 | 2 | 9 | 17 | 38 | 21 | 535,700[2]
|  | 185 | 164 | 147 | 226 | 202 | 181 | 200 | 159 | 163 | 200 | 178 | 177 | 535,617[3]
|  | 6 | 8 | 0 | 0 | 18 | 9 | 4 | 10 | 0 | 3 | 0 | 1 | 535,700[3]