## Plate 1 - Sheet1
Software Version | 2.00.18
Plate Number | Plate 1
Date | 2019-09-24
Time | 16:32
Reader Type: | Synergy H1
Reader Serial Number: | 268413
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 500, Emission: 620
Optics: Bottom, Gain: AutoScale
Filter Set 2
Excitation: 500, Emission: 700
Optics: Bottom, Gain: AutoScale
Filter Set 3
Excitation: 400, Emission: 450
Optics: Bottom, Gain: AutoScale
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 24.1
Actual Temperature: | 24.1
Actual Temperature: | 24.1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 3581 | 2992 | 5593 | 11929 | 6093 | 3705 | 5887 | 4208 | 6320 | 4038 | 4066 | 49244 | 500.62
|  | 8065 | 6450 | 11804 | 26916 | 13152 | 8110 | 12494 | 8501 | 13389 | 7365 | 9074 | 54563 | 500.7
|  | 1334 | 1539 | 1381 | 1395 | 1436 | 1456 | 1490 | 1482 | 1791 | 1452 | 1513 | 2125 | 400.45
| B | 1304 | 6650 | 6066 | 3887 | 4329 | 7010 | 4691 | 4434 | 2087 | 4894 | 3926 | 34135 | 500.62
|  | 2526 | 14568 | 11751 | 7495 | 9955 | 14067 | 9821 | 9642 | 4626 | 10893 | 7785 | 29661 | 500.7
|  | 1386 | 1394 | 1416 | 1409 | 1412 | 1400 | 1525 | 1499 | 1422 | 1498 | 1606 | 2009 | 400.45
| C | 3772 | 3197 | 5604 | 3436 | 4710 | 8137 | 4205 | 5058 | 4253 | 5119 | 5044 | 43769 | 500.62
|  | 7781 | 6322 | 11671 | 6902 | 9661 | 17034 | 9474 | 10843 | 7987 | 12253 | 10529 | 45671 | 500.7
|  | 1385 | 1341 | 1402 | 1394 | 1456 | 1435 | 1382 | 1625 | 1397 | 1492 | 1421 | 1878 | 400.45
| D | 159 | 148 | 185 | 374 | 133 | 140 | 133 | 19153 | 15932 | 125 | 127 | 1012 | 500.62
|  | 0 | 66 | 73 | 228 | 144 | 89 | 8 | 16187 | 9196 | 0 | 115 | 674 | 500.7
|  | 1951 | 1507 | 1828 | 1579 | 1484 | 1511 | 1498 | 47969 | 48384 | 1498 | 1495 | 2719 | 400.45
| E | 168 | 168 | 167 | 171 | 230 | 163 | 163 | 22302 | 15771 | 161 | 165 | 1154 | 500.62
|  | 161 | 0 | 1 | 143 | 159 | 21 | 50 | 30975 | 9095 | 4 | 164 | 627 | 500.7
|  | 1514 | 1508 | 1562 | 1493 | 1513 | 1511 | 1516 | 43769 | 48652 | 1572 | 1507 | 2808 | 400.45
| F | 149 | 118 | 171 | 189 | 177 | 161 | 168 | 21303 | 16031 | 176 | 138 | 674 | 500.62
|  | 0 | 13 | 131 | 39 | 81 | 17 | 0 | 21854 | 9475 | 3 | 173 | 395 | 500.7
|  | 1525 | 1430 | 1512 | 1493 | 1487 | 1506 | 1508 | 47185 | 49157 | 1701 | 1558 | 2288 | 400.45
| G | 205 | 142 | 166 | 168 | 187 | 168 | 180 | 183 | 158 | 152 | 149 | 174 | 500.62
|  | 2 | 7 | 208 | 43 | 39 | 21 | 263 | 31 | 8 | 0 | 51 | 0 | 500.7
|  | 2008 | 1508 | 1502 | 1566 | 1534 | 1527 | 1548 | 1547 | 1517 | 1740 | 1551 | 1560 | 400.45
| H | 150 | 367 | 175 | 182 | 195 | 177 | 181 | 175 | 163 | 152 | 187 | 158 | 500.62
|  | 120 | 198 | 48 | 128 | 0 | 35 | 64 | 71 | 76 | 213 | 62 | 18 | 500.7
|  | 1563 | 10800 | 1611 | 1496 | 1557 | 1646 | 1598 | 1587 | 1507 | 1709 | 1625 | 1756 | 400.45