## Plate 1 - Sheet1
Software Version | 2.00.18
Plate Number | Plate 1
Date | 2019-10-02
Time | 11:16
Reader Type: | Synergy H1
Reader Serial Number: | 268413
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Read | Fluorescence Spectrum
A1..C12
Fixed Excitation: 535 nm
Emission Start: 565 nm, Stop: 700 nm, Step: 10 nm
Optics: Top, Gain: 125
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
EM Spectrum
| Wavelength | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 565 | A1: 1534; A2: 2015; A3: 1365; A4: 1447; A5: 1924; A6: 1320; A7: 1589; A8: 1569; A9: 1625; A10: 1513; A11: 713; A12: 396; B1: 1386; B2: 1470; B3: 1737; B4: 1537; B5: 1462; B6: 1598; B7: 1695; B8: 1699; B9: 1786; B10: 1626; B11: 729; B12: 293; C1: 1498; C2: 1513; C3: 1522; C4: 1553; C5: 1472; C6: 1670; C7: 1792; C8: 1673; C9: 1578; C10: 1572; C11: 780; C12: 346
| 575 | A1: 3080; A2: 3962; A3: 2638; A4: 2862; A5: 3775; A6: 2572; A7: 3110; A8: 3074; A9: 3200; A10: 3050; A11: 1320; A12: 364; B1: 2732; B2: 2887; B3: 3378; B4: 3047; B5: 2690; B6: 3236; B7: 3469; B8: 3425; B9: 3270; B10: 3143; B11: 1370; B12: 259; C1: 2843; C2: 3031; C3: 3008; C4: 3020; C5: 2757; C6: 3241; C7: 3387; C8: 3101; C9: 3163; C10: 3019; C11: 1345; C12: 306
| 585 | A1: 5756; A2: 7497; A3: 4975; A4: 5616; A5: 6966; A6: 4763; A7: 5777; A8: 5991; A9: 5980; A10: 5808; A11: 2258; A12: 320; B1: 5080; B2: 5075; B3: 6443; B4: 5842; B5: 5121; B6: 6251; B7: 6430; B8: 6498; B9: 6104; B10: 5988; B11: 2330; B12: 265; C1: 5442; C2: 5402; C3: 5582; C4: 5745; C5: 5166; C6: 6305; C7: 6358; C8: 6050; C9: 6046; C10: 5785; C11: 2412; C12: 288
| 595 | A1: 9469; A2: 12065; A3: 7940; A4: 9131; A5: 11218; A6: 7737; A7: 9101; A8: 9836; A9: 9459; A10: 9193; A11: 3455; A12: 273; B1: 8361; B2: 7995; B3: 10620; B4: 9060; B5: 8431; B6: 9862; B7: 10623; B8: 10391; B9: 9836; B10: 9519; B11: 3640; B12: 265; C1: 8654; C2: 8568; C3: 9346; C4: 9483; C5: 8113; C6: 10070; C7: 10485; C8: 9797; C9: 9455; C10: 9327; C11: 3781; C12: 302
| 605 | A1: 12700; A2: 16616; A3: 10617; A4: 12165; A5: 15333; A6: 10540; A7: 12646; A8: 12794; A9: 13033; A10: 12562; A11: 4774; A12: 234; B1: 11250; B2: 11036; B3: 14536; B4: 12393; B5: 11350; B6: 13677; B7: 14354; B8: 14037; B9: 13488; B10: 12887; B11: 4996; B12: 227; C1: 11942; C2: 12111; C3: 12691; C4: 12652; C5: 11131; C6: 13750; C7: 14089; C8: 13463; C9: 12841; C10: 13009; C11: 4872; C12: 297
| 615 | A1: 16093; A2: 20853; A3: 13419; A4: 15126; A5: 19059; A6: 12897; A7: 15701; A8: 16395; A9: 16384; A10: 15477; A11: 5953; A12: 212; B1: 13935; B2: 13844; B3: 17878; B4: 15572; B5: 14265; B6: 16939; B7: 18093; B8: 17818; B9: 16932; B10: 16314; B11: 6250; B12: 211; C1: 14955; C2: 14815; C3: 15679; C4: 15818; C5: 13819; C6: 16963; C7: 17426; C8: 16761; C9: 16054; C10: 16287; C11: 6433; C12: 315
| 625 | A1: 17675; A2: 22905; A3: 15269; A4: 16429; A5: 22011; A6: 14303; A7: 17721; A8: 18282; A9: 17895; A10: 17503; A11: 7096; A12: 239; B1: 15845; B2: 15188; B3: 20228; B4: 17270; B5: 15998; B6: 18731; B7: 20286; B8: 20168; B9: 19140; B10: 17887; B11: 7599; B12: 261; C1: 16678; C2: 16743; C3: 18063; C4: 17864; C5: 16146; C6: 18868; C7: 19796; C8: 18643; C9: 18174; C10: 17484; C11: 7576; C12: 249
| 635 | A1: 18833; A2: 23874; A3: 16143; A4: 17022; A5: 23485; A6: 15482; A7: 18586; A8: 19516; A9: 19263; A10: 18477; A11: 7876; A12: 215; B1: 16754; B2: 16200; B3: 21383; B4: 18117; B5: 17009; B6: 19867; B7: 21657; B8: 21253; B9: 19974; B10: 19048; B11: 8400; B12: 207; C1: 17719; C2: 17398; C3: 18838; C4: 18770; C5: 16273; C6: 19693; C7: 21033; C8: 20026; C9: 19175; C10: 18655; C11: 8381; C12: 212
| 645 | A1: 19194; A2: 23853; A3: 16390; A4: 16136; A5: 23676; A6: 15594; A7: 18896; A8: 19400; A9: 19469; A10: 18885; A11: 8375; A12: 250; B1: 17089; B2: 16447; B3: 21333; B4: 18342; B5: 16931; B6: 20010; B7: 21695; B8: 21462; B9: 19731; B10: 19682; B11: 8936; B12: 256; C1: 17919; C2: 17831; C3: 19523; C4: 18843; C5: 16494; C6: 20135; C7: 21612; C8: 20176; C9: 18826; C10: 18634; C11: 8532; C12: 198
| 655 | A1: 18234; A2: 22956; A3: 16573; A4: 15445; A5: 23355; A6: 15105; A7: 18430; A8: 18879; A9: 18597; A10: 18032; A11: 8442; A12: 114; B1: 16915; B2: 16030; B3: 21290; B4: 17847; B5: 16344; B6: 19463; B7: 20866; B8: 20499; B9: 19466; B10: 18648; B11: 8735; B12: 154; C1: 17866; C2: 17143; C3: 18430; C4: 18466; C5: 16336; C6: 19513; C7: 20687; C8: 19256; C9: 18882; C10: 18910; C11: 9000; C12: 277
| 665 | A1: 17220; A2: 22294; A3: 15192; A4: 14286; A5: 22931; A6: 14212; A7: 17416; A8: 17174; A9: 17807; A10: 17387; A11: 8491; A12: 152; B1: 15202; B2: 16108; B3: 19875; B4: 17098; B5: 15990; B6: 18061; B7: 20802; B8: 19931; B9: 18703; B10: 18095; B11: 8916; B12: 65; C1: 17420; C2: 16725; C3: 18200; C4: 17172; C5: 15972; C6: 18587; C7: 19878; C8: 18193; C9: 17678; C10: 18110; C11: 8797; C12: 152
| 675 | A1: 16378; A2: 21097; A3: 14382; A4: 13266; A5: 20855; A6: 13212; A7: 16398; A8: 17331; A9: 16362; A10: 16309; A11: 8569; A12: 259; B1: 15524; B2: 15118; B3: 18173; B4: 15733; B5: 14341; B6: 16513; B7: 19376; B8: 18414; B9: 17837; B10: 16655; B11: 8682; B12: 94; C1: 16327; C2: 16044; C3: 17202; C4: 16167; C5: 14235; C6: 17363; C7: 19008; C8: 16631; C9: 16199; C10: 16075; C11: 8318; C12: 192
| 685 | A1: 14660; A2: 18559; A3: 12298; A4: 11249; A5: 19319; A6: 12148; A7: 15212; A8: 14955; A9: 15281; A10: 15489; A11: 7504; A12: 41; B1: 13467; B2: 13858; B3: 16027; B4: 14851; B5: 13577; B6: 15475; B7: 17001; B8: 16115; B9: 15566; B10: 15124; B11: 8535; B12: 282; C1: 14518; C2: 13837; C3: 15447; C4: 14620; C5: 12653; C6: 16143; C7: 16893; C8: 15069; C9: 14700; C10: 14290; C11: 8188; C12: 167
| 695 | A1: 13191; A2: 16903; A3: 11538; A4: 9860; A5: 17963; A6: 10666; A7: 13389; A8: 14007; A9: 13344; A10: 13180; A11: 7289; A12: 40; B1: 11489; B2: 11607; B3: 15285; B4: 13065; B5: 12470; B6: 14264; B7: 15451; B8: 15113; B9: 14865; B10: 14041; B11: 8096; B12: 53; C1: 12797; C2: 13004; C3: 13591; C4: 13478; C5: 12370; C6: 14109; C7: 15837; C8: 14392; C9: 14344; C10: 13548; C11: 7763; C12: 21
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1534 | 2015 | 1365 | 1447 | 1924 | 1320 | 1589 | 1569 | 1625 | 1513 | 713 | 40 | Mean Min RFU [EM Spectrum]
|  | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 695 | W at Mean Min RFU [EM Spectrum]
|  | 19194 | 23874 | 16573 | 17022 | 23676 | 15594 | 18896 | 19516 | 19469 | 18885 | 8569 | 396 | Mean Max RFU [EM Spectrum]
|  | 645 | 635 | 655 | 635 | 645 | 645 | 645 | 635 | 645 | 645 | 675 | 565 | W at Mean Max RFU [EM Spectrum]
| B | 1386 | 1470 | 1737 | 1537 | 1462 | 1598 | 1695 | 1699 | 1786 | 1626 | 729 | 53 | Mean Min RFU [EM Spectrum]
|  | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 695 | W at Mean Min RFU [EM Spectrum]
|  | 17089 | 16447 | 21383 | 18342 | 17009 | 20010 | 21695 | 21462 | 19974 | 19682 | 8936 | 293 | Mean Max RFU [EM Spectrum]
|  | 645 | 645 | 635 | 645 | 635 | 645 | 645 | 645 | 635 | 645 | 645 | 565 | W at Mean Max RFU [EM Spectrum]
| C | 1498 | 1513 | 1522 | 1553 | 1472 | 1670 | 1792 | 1673 | 1578 | 1572 | 780 | 21 | Mean Min RFU [EM Spectrum]
|  | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 695 | W at Mean Min RFU [EM Spectrum]
|  | 17919 | 17831 | 19523 | 18843 | 16494 | 20135 | 21612 | 20176 | 19175 | 18910 | 9000 | 346 | Mean Max RFU [EM Spectrum]
|  | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 645 | 635 | 655 | 655 | 565 | W at Mean Max RFU [EM Spectrum]
| D | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [EM Spectrum]
| E | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [EM Spectrum]
| F | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [EM Spectrum]
| G | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [EM Spectrum]
| H | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [EM Spectrum]