## Plate 1 - Sheet1
Software Version | 2.00.18
Plate Number | Plate 1
Date | 2019-10-02
Time | 11:08
Reader Type: | Synergy H1
Reader Serial Number: | 268413
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Read | Fluorescence Spectrum
Full Plate
Fixed Excitation: 493 nm
Emission Start: 520 nm, Stop: 700 nm, Step: 10 nm
Optics: Bottom, Gain: 125
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
EM Spectrum
| Wavelength | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
| 520 | A1: 1582; A2: 1996; A3: 1809; A4: 2085; A5: 1772; A6: 1826; A7: 1863; A8: 1905; A9: 1867; A10: 1819; A11: 1607; A12: 10998; B1: 1897; B2: 1809; B3: 1923; B4: 1840; B5: 1738; B6: 1824; B7: 1816; B8: 1819; B9: 1862; B10: 1813; B11: 1542; B12: 11059; C1: 1808; C2: 1786; C3: 1878; C4: 1999; C5: 1914; C6: 1845; C7: 1908; C8: 1978; C9: 1863; C10: 1866; C11: 1588; C12: 11392
| 530 | A1: 396; A2: 549; A3: 415; A4: 537; A5: 491; A6: 532; A7: 503; A8: 575; A9: 529; A10: 497; A11: 303; A12: 1290; B1: 382; B2: 424; B3: 506; B4: 506; B5: 476; B6: 533; B7: 535; B8: 466; B9: 488; B10: 473; B11: 304; B12: 1134; C1: 341; C2: 409; C3: 464; C4: 521; C5: 504; C6: 515; C7: 530; C8: 522; C9: 468; C10: 456; C11: 277; C12: 1153
| 540 | A1: 502; A2: 737; A3: 529; A4: 633; A5: 711; A6: 598; A7: 692; A8: 691; A9: 669; A10: 633; A11: 397; A12: 1351; B1: 552; B2: 558; B3: 674; B4: 671; B5: 631; B6: 649; B7: 679; B8: 623; B9: 617; B10: 642; B11: 378; B12: 1057; C1: 501; C2: 566; C3: 611; C4: 658; C5: 653; C6: 642; C7: 698; C8: 675; C9: 655; C10: 606; C11: 388; C12: 1147
| 550 | A1: 891; A2: 1167; A3: 882; A4: 871; A5: 1195; A6: 947; A7: 1032; A8: 1020; A9: 1038; A10: 971; A11: 693; A12: 1103; B1: 920; B2: 971; B3: 1094; B4: 1069; B5: 1045; B6: 1050; B7: 1084; B8: 1024; B9: 1018; B10: 945; B11: 681; B12: 1051; C1: 835; C2: 964; C3: 1018; C4: 1114; C5: 1035; C6: 1047; C7: 1125; C8: 1062; C9: 985; C10: 955; C11: 696; C12: 1137
| 560 | A1: 1841; A2: 2298; A3: 1758; A4: 1604; A5: 2486; A6: 1824; A7: 2027; A8: 2078; A9: 2042; A10: 1984; A11: 1393; A12: 1128; B1: 1884; B2: 2010; B3: 2171; B4: 2161; B5: 2013; B6: 2043; B7: 2148; B8: 2064; B9: 2003; B10: 1906; B11: 1359; B12: 1061; C1: 1817; C2: 2004; C3: 2165; C4: 2193; C5: 2028; C6: 2116; C7: 2175; C8: 2000; C9: 1962; C10: 1876; C11: 1340; C12: 1064
| 570 | A1: 3747; A2: 4868; A3: 3537; A4: 3115; A5: 5185; A6: 3663; A7: 4188; A8: 4348; A9: 4096; A10: 4005; A11: 2838; A12: 1202; B1: 3789; B2: 4260; B3: 4483; B4: 4303; B5: 4200; B6: 4271; B7: 4276; B8: 4190; B9: 3996; B10: 3835; B11: 2807; B12: 1112; C1: 3745; C2: 4126; C3: 4412; C4: 4447; C5: 4127; C6: 4224; C7: 4764; C8: 4245; C9: 3959; C10: 3746; C11: 2904; C12: 1019
| 580 | A1: 6919; A2: 8671; A3: 6314; A4: 5663; A5: 9363; A6: 6536; A7: 7256; A8: 7577; A9: 7309; A10: 7345; A11: 4997; A12: 1133; B1: 6974; B2: 7557; B3: 8366; B4: 7860; B5: 7416; B6: 7411; B7: 7869; B8: 7739; B9: 7199; B10: 6894; B11: 4906; B12: 1107; C1: 6870; C2: 7458; C3: 7926; C4: 8109; C5: 7561; C6: 7676; C7: 8294; C8: 7646; C9: 7387; C10: 6945; C11: 4912; C12: 914
| 590 | A1: 11677; A2: 15167; A3: 10839; A4: 9564; A5: 15971; A6: 11135; A7: 12472; A8: 13306; A9: 12598; A10: 12332; A11: 8149; A12: 934; B1: 12069; B2: 12922; B3: 14266; B4: 13329; B5: 12490; B6: 12883; B7: 13161; B8: 13123; B9: 12500; B10: 11661; B11: 7969; B12: 868; C1: 11727; C2: 12716; C3: 13886; C4: 13892; C5: 12767; C6: 12977; C7: 14105; C8: 12742; C9: 12377; C10: 11623; C11: 7997; C12: 809
| 600 | A1: 17158; A2: 22193; A3: 15723; A4: 13614; A5: 23040; A6: 15745; A7: 17749; A8: 18975; A9: 17815; A10: 17617; A11: 11609; A12: 878; B1: 17560; B2: 18667; B3: 20952; B4: 19504; B5: 18049; B6: 18732; B7: 18863; B8: 18867; B9: 17424; B10: 16505; B11: 11563; B12: 759; C1: 16623; C2: 18475; C3: 19679; C4: 19938; C5: 18327; C6: 18813; C7: 20555; C8: 18377; C9: 17739; C10: 16699; C11: 11308; C12: 684
| 610 | A1: 22321; A2: 28312; A3: 20409; A4: 17680; A5: 30412; A6: 20695; A7: 23171; A8: 24282; A9: 23157; A10: 23178; A11: 15407; A12: 759; B1: 23119; B2: 24181; B3: 27482; B4: 25557; B5: 23695; B6: 24071; B7: 24426; B8: 24610; B9: 23221; B10: 22052; B11: 15112; B12: 605; C1: 21790; C2: 24415; C3: 26167; C4: 26468; C5: 23504; C6: 24340; C7: 26895; C8: 24585; C9: 23312; C10: 21878; C11: 14900; C12: 733
| 620 | A1: 26392; A2: 33474; A3: 24064; A4: 20355; A5: 36318; A6: 24195; A7: 27921; A8: 28260; A9: 27353; A10: 27207; A11: 19208; A12: 523; B1: 26693; B2: 28889; B3: 31675; B4: 29609; B5: 28068; B6: 28498; B7: 29234; B8: 29198; B9: 26586; B10: 25599; B11: 17986; B12: 522; C1: 25765; C2: 28247; C3: 30687; C4: 30919; C5: 28052; C6: 28441; C7: 31621; C8: 28029; C9: 27323; C10: 25662; C11: 17953; C12: 489
| 630 | A1: 29439; A2: 35628; A3: 26863; A4: 21820; A5: 39989; A6: 27165; A7: 30135; A8: 31378; A9: 30126; A10: 30160; A11: 20775; A12: 576; B1: 29844; B2: 32078; B3: 34892; B4: 32434; B5: 30758; B6: 31454; B7: 32469; B8: 32076; B9: 29959; B10: 28907; B11: 20083; B12: 470; C1: 29021; C2: 31426; C3: 33627; C4: 33159; C5: 30699; C6: 31980; C7: 34716; C8: 31010; C9: 29885; C10: 28537; C11: 20354; C12: 542
| 640 | A1: 29595; A2: 36877; A3: 28046; A4: 22530; A5: 42044; A6: 28065; A7: 31764; A8: 32400; A9: 31517; A10: 31310; A11: 22632; A12: 380; B1: 30741; B2: 33167; B3: 36161; B4: 32923; B5: 32221; B6: 32009; B7: 33936; B8: 33099; B9: 31441; B10: 29537; B11: 22266; B12: 411; C1: 30203; C2: 32725; C3: 35040; C4: 34213; C5: 31728; C6: 32948; C7: 36204; C8: 32376; C9: 30826; C10: 29852; C11: 22066; C12: 397
| 650 | A1: 30282; A2: 36657; A3: 28726; A4: 21334; A5: 41827; A6: 27619; A7: 31402; A8: 32350; A9: 31653; A10: 31482; A11: 23660; A12: 197; B1: 31157; B2: 33661; B3: 35989; B4: 33466; B5: 32236; B6: 32312; B7: 33802; B8: 34358; B9: 31585; B10: 30117; B11: 23113; B12: 334; C1: 30986; C2: 33013; C3: 35700; C4: 34410; C5: 31927; C6: 32589; C7: 35691; C8: 31772; C9: 31630; C10: 29341; C11: 23111; C12: 308
| 660 | A1: 29434; A2: 36505; A3: 26692; A4: 20394; A5: 41194; A6: 27387; A7: 30609; A8: 31036; A9: 29806; A10: 30644; A11: 23564; A12: 209; B1: 29732; B2: 33096; B3: 34872; B4: 32389; B5: 30569; B6: 31614; B7: 32629; B8: 32657; B9: 30308; B10: 28681; B11: 22388; B12: 397; C1: 29264; C2: 31387; C3: 34414; C4: 32919; C5: 30460; C6: 31342; C7: 35775; C8: 31393; C9: 29774; C10: 28853; C11: 22527; C12: 384
| 670 | A1: 28310; A2: 34323; A3: 26480; A4: 19114; A5: 40030; A6: 25989; A7: 28963; A8: 29890; A9: 29480; A10: 29625; A11: 23353; A12: 91; B1: 28736; B2: 31345; B3: 33131; B4: 31122; B5: 29705; B6: 29560; B7: 32389; B8: 31498; B9: 29257; B10: 27726; B11: 22798; B12: 373; C1: 29100; C2: 30646; C3: 33194; C4: 31586; C5: 30092; C6: 30412; C7: 34034; C8: 29687; C9: 30293; C10: 28346; C11: 22716; C12: 548
| 680 | A1: 26476; A2: 29760; A3: 24061; A4: 17668; A5: 36476; A6: 24111; A7: 26844; A8: 27147; A9: 26484; A10: 26463; A11: 21232; A12: 570; B1: 26623; B2: 28786; B3: 29804; B4: 27992; B5: 26611; B6: 27919; B7: 28871; B8: 28230; B9: 27149; B10: 25947; B11: 20811; B12: 14; C1: 25966; C2: 27504; C3: 29561; C4: 27710; C5: 26541; C6: 26599; C7: 31425; C8: 27073; C9: 26758; C10: 25329; C11: 20570; C12: 49
| 690 | A1: 24429; A2: 28947; A3: 23049; A4: 15591; A5: 33359; A6: 22522; A7: 24542; A8: 25452; A9: 24470; A10: 25194; A11: 20645; A12: 360; B1: 24515; B2: 26746; B3: 28449; B4: 26134; B5: 24929; B6: 25469; B7: 27297; B8: 26462; B9: 24654; B10: 24344; B11: 20020; B12: 184; C1: 24167; C2: 25360; C3: 28308; C4: 26310; C5: 24831; C6: 25591; C7: 28466; C8: 25538; C9: 26092; C10: 23068; C11: 20218; C12: 547
| 700 | A1: 21238; A2: 25423; A3: 21012; A4: 14045; A5: 30422; A6: 19930; A7: 22686; A8: 23264; A9: 22231; A10: 21665; A11: 18954; A12: 216; B1: 21875; B2: 21898; B3: 25590; B4: 23316; B5: 21901; B6: 22981; B7: 24414; B8: 24372; B9: 23376; B10: 20828; B11: 17645; B12: 0; C1: 21348; C2: 25113; C3: 25124; C4: 22232; C5: 23640; C6: 21216; C7: 24780; C8: 21418; C9: 22745; C10: 21137; C11: 17622; C12: 239
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 396 | 549 | 415 | 537 | 491 | 532 | 503 | 575 | 529 | 497 | 303 | 91 | Mean Min RFU [EM Spectrum]
|  | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 670 | W at Mean Min RFU [EM Spectrum]
|  | 30282 | 36877 | 28726 | 22530 | 42044 | 28065 | 31764 | 32400 | 31653 | 31482 | 23660 | 10998 | Mean Max RFU [EM Spectrum]
|  | 650 | 640 | 650 | 640 | 640 | 640 | 640 | 640 | 650 | 650 | 650 | 520 | W at Mean Max RFU [EM Spectrum]
| B | 382 | 424 | 506 | 506 | 476 | 533 | 535 | 466 | 488 | 473 | 304 | 0 | Mean Min RFU [EM Spectrum]
|  | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 700 | W at Mean Min RFU [EM Spectrum]
|  | 31157 | 33661 | 36161 | 33466 | 32236 | 32312 | 33936 | 34358 | 31585 | 30117 | 23113 | 11059 | Mean Max RFU [EM Spectrum]
|  | 650 | 650 | 640 | 650 | 650 | 650 | 640 | 650 | 650 | 650 | 650 | 520 | W at Mean Max RFU [EM Spectrum]
| C | 341 | 409 | 464 | 521 | 504 | 515 | 530 | 522 | 468 | 456 | 277 | 49 | Mean Min RFU [EM Spectrum]
|  | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 530 | 680 | W at Mean Min RFU [EM Spectrum]
|  | 30986 | 33013 | 35700 | 34410 | 31927 | 32948 | 36204 | 32376 | 31630 | 29852 | 23111 | 11392 | Mean Max RFU [EM Spectrum]
|  | 650 | 650 | 650 | 650 | 650 | 640 | 640 | 640 | 650 | 640 | 650 | 520 | W at Mean Max RFU [EM Spectrum]
| D | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [EM Spectrum]
| E | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [EM Spectrum]
| F | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [EM Spectrum]
| G | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [EM Spectrum]
| H | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Min RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | Mean Max RFU [EM Spectrum]
|  | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | ????? | W at Mean Max RFU [EM Spectrum]