## Plate 1 - Sheet1
Software Version | 2.00.18
Plate Number | Plate 1
Date | 2019-09-24
Time | 16:26
Reader Type: | Synergy H1
Reader Serial Number: | 268413
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 500, Emission: 620
Optics: Bottom, Gain: 100
Filter Set 2
Excitation: 500, Emission: 700
Optics: Bottom, Gain: 100
Filter Set 3
Excitation: 400, Emission: 450
Optics: Bottom, Gain: 100
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 23.9
Actual Temperature: | 23.9
Actual Temperature: | 23.9
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 669 | 567 | 1103 | 2350 | 1194 | 708 | 1150 | 809 | 1247 | 827 | 819 | 8832 | 500.62
|  | 69 | 35 | 72 | 157 | 88 | 54 | 64 | 38 | 93 | 71 | 65 | 272 | 500.7
|  | 2807 | 3264 | 3012 | 3081 | 3187 | 3139 | 3185 | 3296 | 3840 | 3146 | 3333 | 4645 | 400.45
| B | 247 | 1371 | 1103 | 756 | 890 | 1368 | 892 | 913 | 431 | 999 | 826 | 6078 | 500.62
|  | 4 | 89 | 124 | 45 | 62 | 96 | 60 | 75 | 29 | 60 | 61 | 168 | 500.7
|  | 3065 | 2951 | 3092 | 3057 | 3038 | 3095 | 3354 | 3234 | 3127 | 3164 | 3692 | 4331 | 400.45
| C | 744 | 648 | 1110 | 685 | 960 | 1634 | 805 | 1109 | 828 | 975 | 984 | 7834 | 500.62
|  | 56 | 41 | 74 | 31 | 65 | 114 | 44 | 79 | 44 | 66 | 76 | 266 | 500.7
|  | 3071 | 3066 | 3022 | 3081 | 3131 | 3095 | 3049 | 7005 | 3021 | 3171 | 3159 | 4043 | 400.45
| D | 32 | 24 | 26 | 63 | 16 | 36 | 34 | 3739 | 3159 | 37 | 35 | 202 | 500.62
|  | 0 | 1 | 0 | 9 | 11 | 14 | 17 | 99 | 69 | 0 | 7 | 11 | 500.7
|  | 4281 | 3187 | 3941 | 3427 | 3247 | 3275 | 3300 | OVRFLW | OVRFLW | 3213 | 3251 | 5636 | 400.45
| E | 42 | 38 | 28 | 32 | 46 | 38 | 36 | 4353 | 3095 | 35 | 27 | 202 | 500.62
|  | 4 | 0 | 4 | 1 | 0 | 0 | 0 | 176 | 46 | 2 | 7 | 7 | 500.7
|  | 3299 | 3263 | 3383 | 3200 | 3325 | 3284 | 3196 | 95555 | OVRFLW | 3451 | 3384 | 5935 | 400.45
| F | 29 | 18 | 42 | 30 | 32 | 27 | 34 | 4261 | 3220 | 24 | 40 | 121 | 500.62
|  | 0 | 0 | 15 | 0 | 0 | 0 | 12 | 128 | 75 | 0 | 0 | 4 | 500.7
|  | 3236 | 3186 | 3299 | 3185 | 3257 | 3322 | 3205 | OVRFLW | OVRFLW | 3842 | 3394 | 4861 | 400.45
| G | 40 | 39 | 42 | 21 | 44 | 43 | 27 | 36 | 30 | 26 | 39 | 34 | 500.62
|  | 10 | 3 | 0 | 6 | 0 | 1 | 0 | 0 | 3 | 6 | 0 | 16 | 500.7
|  | 4443 | 3308 | 3250 | 3310 | 3292 | 3331 | 3315 | 3355 | 3252 | 3726 | 3293 | 3438 | 400.45
| H | 13 | 65 | 42 | 44 | 27 | 44 | 30 | 45 | 31 | 41 | 39 | 34 | 500.62
|  | 6 | 21 | 12 | 1 | 0 | 2 | 0 | 6 | 0 | 8 | 0 | 0 | 500.7
|  | 3334 | 23490 | 3474 | 3286 | 3391 | 3529 | 3513 | 3419 | 3441 | 3607 | 3580 | 3894 | 400.45