## Plate 1 - Sheet1
Software Version | 2.00.18
Plate Number | Plate 1
Date | 2019-09-24
Time | 16:21
Reader Type: | Synergy H1
Reader Serial Number: | 268413
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 500, Emission: 620
Optics: Bottom, Gain: 150
Filter Set 2
Excitation: 500, Emission: 700
Optics: Bottom, Gain: 150
Filter Set 3
Excitation: 400, Emission: 500
Optics: Bottom, Gain: 150
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 23.8
Actual Temperature: | 23.8
Actual Temperature: | 23.8
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 17778 | 14861 | 26719 | 57795 | 28613 | 17547 | 26992 | 18930 | 30085 | 18697 | 20498 | OVRFLW | 500.62
|  | 1270 | 767 | 1891 | 4085 | 1834 | 1213 | 1634 | 1214 | 2191 | 1530 | 1459 | 6498 | 500.7
|  | 36401 | 41772 | 39587 | 39784 | 41435 | 41613 | 40243 | 42799 | 46126 | 40822 | 42863 | 62417 | 400.5
| B | 6506 | 32150 | 19540 | 18491 | 21249 | 33440 | 21565 | 21925 | 10279 | 23855 | 18613 | OVRFLW | 500.62
|  | 381 | 2595 | 1397 | 1129 | 1428 | 2154 | 1461 | 1510 | 552 | 1654 | 1272 | 3735 | 500.7
|  | 38529 | 37416 | 39092 | 37804 | 39289 | 38850 | 41390 | 39930 | 40335 | 39459 | 40233 | 64256 | 400.5
| C | 17412 | 13804 | 27268 | 15587 | 23990 | 38564 | 20452 | 25793 | 19781 | 25626 | 23961 | OVRFLW | 500.62
|  | 1426 | 1024 | 1763 | 1139 | 1774 | 2788 | 1496 | 1750 | 1278 | 1872 | 1552 | 5449 | 500.7
|  | 38592 | 36198 | 36745 | 39574 | 40929 | 39883 | 38053 | 96600 | 39768 | 40458 | 39883 | 58454 | 400.5
| D | 745 | 734 | 751 | 1516 | 786 | 689 | 794 | 89157 | 75543 | 638 | 691 | 3823 | 500.62
|  | 1 | 0 | 18 | 49 | 8 | 0 | 30 | 2794 | 1468 | 0 | 0 | 73 | 500.7
|  | 46826 | 41336 | 44334 | 42407 | 41592 | 42956 | 42707 | OVRFLW | OVRFLW | 41463 | 42496 | 95463 | 400.5
| E | 755 | 705 | 791 | 763 | 913 | 744 | 728 | OVRFLW | 74894 | 801 | 669 | 4219 | 500.62
|  | 12 | 5 | 10 | 2 | 25 | 21 | 10 | 4563 | 1445 | 8 | 0 | 110 | 500.7
|  | 42779 | 42713 | 43798 | 42204 | 42769 | 44181 | 42017 | OVRFLW | OVRFLW | 44654 | 43784 | 98556 | 400.5
| F | 758 | 831 | 677 | 780 | 861 | 863 | 773 | OVRFLW | 78394 | 812 | 839 | 2888 | 500.62
|  | 15 | 7 | 54 | 6 | 3 | 16 | 34 | 3606 | 1456 | 12 | 0 | 66 | 500.7
|  | 42541 | 40368 | 42789 | 42742 | 44693 | 42968 | 43228 | OVRFLW | OVRFLW | 45169 | 44968 | 75952 | 400.5
| G | 774 | 826 | 666 | 794 | 764 | 804 | 688 | 845 | 668 | 726 | 708 | 858 | 500.62
|  | 11 | 11 | 0 | 0 | 0 | 17 | 0 | 13 | 17 | 9 | 34 | 1 | 500.7
|  | 49973 | 42943 | 42844 | 42956 | 43681 | 44166 | 44585 | 44066 | 43958 | 46623 | 43465 | 45599 | 400.5
| H | 878 | 1569 | 1026 | 684 | 839 | 821 | 917 | 868 | 891 | 697 | 893 | 840 | 500.62
|  | 31 | 40 | 3 | 20 | 18 | 6 | 20 | 23 | 16 | 30 | 20 | 31 | 500.7
|  | 42735 | OVRFLW | 43935 | 42868 | 46208 | 44445 | 45593 | 45187 | 44832 | 46356 | 46596 | 48991 | 400.5